## 000-A-PPN-60003-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Arrow |  | Sankara
2 | Text Box |  | Sankara | The division of responsibilities between MOC and ROC for the 33kV Main Substation needs to be defined clearly
3 | Call-out |  | Hasan Al Noaimi
4 | Text Box |  | Robert.Kawitzki | See PPN-60002 for general comments
5 | Callout |  | Robert.Kawitzki | Text shall be clear and readable - typical comment
6 | Call-out |  | Ali Abbas | Applicable comments from 60001 to be reflected.
7 | Typewritten Text |  | Mohamed Ayyash | has been converted to Platformer office & work station
8 | Arrow |  | Mohamed Ayyash
9 | Typewritten Text |  | Mohamed Ayyash | Will be removed
10 | Arrow |  | Mohamed Ayyash
11 | Typewritten Text |  | Mohamed Ayyash | What is this ?
12 | Arrow |  | Mohamed Ayyash
13 | Callout |  | Mohamed Ayyash | Slop rerun has been demolished many years ago, it does not exist
14 | Callout |  | Mohamed Ayyash | can write FCCU old control room or FCCU work station
15 | Microsoft Word - Code 3 With Comments |  | Adel