## 000-A-PPN-60004-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Rectangle |  | Ebrahim
2 | Rectangle |  | Ebrahim
3 | Rectangle |  | Ebrahim
4 | Rectangle |  | Ebrahim
5 | Rectangle |  | Ebrahim
6 | Rectangle |  | Ebrahim
7 | Text Box |  | Ebrahim | Add to reference drawing. Typical
8 | Arrow |  | Ebrahim
9 | Cloud |  | Sankara
10 | Arrow |  | Sankara
11 | Text Box |  | Sankara | Indicate the correct location of EWA Substtaion
12 | Callout |  | Robert.Kawitzki | Text to be to project standard heights - typical comment
13 | Callout |  | Robert.Kawitzki | Drawing form to be filled out correctly
14 | Callout |  | Robert.Kawitzki | Match lines to be shown correctly - typical comment
15 | Callout |  | Robert.Kawitzki | Show call out arrow for relevant items
16 | Cloud |  | Nabeel
17 | Arrow |  | Nabeel
18 | Typewritten Text |  | Nabeel | Correct the wording "LPG Liquid and Vapour return lines"
19 | Cloud |  | Nabeel
20 | Arrow |  | Nabeel
21 | Call-out |  | MAK | General Comment: All texts shall be in UPPERCASE
22 | Rectangle |  | MAK
23 | Call-out |  | MAK | General Comments: Reference drawings numbers shall be Owner's drawing numbers (as primary). If Technip wants to include their drawing nos. then they shall be added (as secondary) and shall be removed in the final handover.
24 | Rectangle |  | MAK
25 | Microsoft Word - Code 3 With Comments |  | Adel