## 000-C-GRD-70007-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box |  | A.Jabbar Mahmood | All pages with odd numbers (starting from page 3) are missing. The document shall be resubmitted for Owner's review.
2 | Call-out |  | Raj | Replace by 2HCU
3 | Text Box |  | Raj | Owner has reviewed and commented on the MR package submitted on Contractors request to solicit quotations from vendors at the earliest. This MR stands reviewed with Status Code 3.
4 | Stamp |  | Raj
5 | Callout |  | A.Jabbar Mahmood | Ensure that the latest revisions of the drawings are included in 019C0001R-EW and 019C0002R-EW as per bidders query number T194 (revised mixing box design). Drawings RD-140557,RD-140580, RD-140581, RD-140584, RD-140594, RD-140617, RD-140618 and RD-140621 shall be rev 1.
6 | Cloud+ |  | A.Jabbar Mahmood | All these drawings have not been provided in this transmittal and hence not reviewed.
7 | Call-out |  | A.Jabbar Mahmood | PTC-604 has not included in this transmittal and hence not reviewed
8 | Callout |  | Mohamed Ayyash | add .
9 | Callout |  | Mohamed Ayyash | space
10 | Arrow |  | Mohamed Ayyash
11 | Callout |  | Mohamed Ayyash | , start up
12 | Arrow |  | Mohamed Ayyash