## 000-E-SOW-60007-001-RAP-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 2 | Sankara | Clarify whether the scope includes VSDs
2 | Call-out | 4 | Ebrahim | and variable speed drive
3 | Text Box | 4 | Ebrahim | Electric motor and variable speed drive asset sheets At Delivery
4 | Text Box | 4 | Sankara | FR
5 | Text Box | 5 | Sankara | Vendor Data Requirements and Inspection Check Lists for Electric motors and Variable Speed drives shall be strictly in accordance with applicable BMPS: Typical