## 000-G-SOW-60001-001-RAP
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Call-out | 4 | Rashed Almudahka | confirm the list's compliance to BMPS-G-50308
2 | Call-out | 5 | Ebrahim | and asset
3 | Text Box | 5 | Omran A | and Systems architecture
4 | Text Box | 5 | Omran A | ,hardware & software for all systems
5 | Text Box | 5 | Omran A | method statements & risk assessments
6 | Text Box | 5 | Ahmed Habib | Control Systems hardware & software
7 | Text Box | 6 | Hasan Asad | As per CDRL, LCCA report shall be provided by the Contractor (scope of Vendor/Supplier) and LCCA considerations for design; both, pumping system and individual component basis (Ref. Vol. 2 - Exhibit 6 - CDRL, Item A3.15, G1.38).