## 372-A-BOD-54001-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | MAK | The correct document template (cover page and format) shall be used. SOC shall coordinate with the Directorate for the correct template.
2 | Text Box | 1 | Mahdi Ali | Check sequence number
3 | Callout | 1 | BD Mori | BFW and Condensate consumption values are subject to changes during details engineering. Therefore, TTSJV shall revise this BOD after the BFW and condensate balance is finalised and resubmit the BOD for approval.
4 | Call-out | 4 | Edgardo | Delete; This reference document was prepared for the pre-FEED Study and is no longer applicable for the EPC phase of BMP.
5 | Call-out | 5 | Edgardo | Please delete the prefix on the unit numbers; This comment applies to all unit numbers
6 | Callout | 5 | Khalid | 3180 does not include FED through calcite bed
7 | Callout | 5 | Khalid | Which Note 1?
8 | Text Box | 5 | Julio.Aguilar | All FED water consumption for the new BMP units are to be checked and confirmed.
9 | Cloud+ | 6 | Julio.Aguilar | 098/099
10 | Call-out | 7 | Mahdi Ali | Unit number shall be 3 digits
11 | Text Box | 7 | Julio.Aguilar | All Demin water consumption for the new BMP units are to be checked and confirmed.
12 | Text Box | 8 | Julio.Aguilar | All HP and LP BFW consumption for the new BMP units are to be checked and confirmed.
13 | Cloud+ | 9 | Julio.Aguilar | Values to be revised and confirmed.
14 | Call-out | 10 | Mahdi Ali | 4ACDU
15 | Call-out | 10 | Mahdi Ali | Incorrect Equipment numbers
16 | Cloud+ | 10 | Julio.Aguilar | Nos. D1107 and D1111
17 | Call-out | 12 | Mahdi Ali | Refer to the latest equipment numbers issued
18 | Text Box | 12 | Julio.Aguilar | All Condensate return for the new BMP units are to be checked and confirmed.
19 | Text Box | 13 | Mahdi Ali | Remove spaces
20 | Callout | 14 | Julio.Aguilar | Please check and confirm inclusion of; South CLCW Letdown Station
21 | Cloud+ | 14 | Julio.Aguilar | Replace by: Refinery South Flare
22 | Text Box | 14 | Julio.Aguilar | All Cold condensate consumption for the new BMP units are to be checked and confirmed.
23 | Cloud+ | 15 | Julio.Aguilar | Please review and confirm this figure. Table 1.1.4.1, page 10 shows for LSDP Condensate 183 Mlb/hr. Accordingly the total flow to be revised
24 | Cloud+ | 16 | Julio.Aguilar | Figures for the Table 1.1.4.6 have to be updated once this value from the Table 1.1.4.5 has been revised and confirmed.
25 | Cloud+ | 17 | Sameer.Ahmed | contamination
26 | Callout | 27 | Khalid | FED
27 | Text Box | 27 | Mahdi Ali | Refer to the latest list for equipment tags
28 | Text Box | 27 | Mahdi Ali | Refer to the latest list for equipment tags
29 | Call-out | 27 | Mahdi Ali | Use Bapco number. Do not use FEED number
30 | Text Box | 28 | Mahdi Ali | For all equipment numbers in this document (Existing and New), refer to the latest list issued.
31 | Text Box | 29 | Sankara | electrical: TYPICAL
32 | Callout | 29 | Khalid | see note page 5
33 | Callout | 35 | Julio.Aguilar | Please include the flow rate.
34 | Call-out | 36 | Hasan Al Noaimi | Refinery south flare
35 | Callout | 37 | Julio.Aguilar | Please include the flow rate.
36 | Callout | 38 | Julio.Aguilar | Please include the flow rate.
37 | Callout | 39 | Julio.Aguilar | Please include the flow rate.
38 | Call-out | 44 | Mahdi Ali | Use Bapco number. Do not use FEED number
39 | Callout | 44 | Julio.Aguilar | Please include the flow rate.
40 | Call-out | 46 | Mahdi Ali | Use Bapco number. Do not use FEED number
41 | Call-out | 47 | Hasan Al Noaimi | treated
42 | Call-out | 47 | Mahdi Ali | Use Bapco number. Do not use FEED number
43 | Callout | 48 | Julio.Aguilar | Please include the flow rate.
44 | Callout | 48 | Jong.Ahn | Pls unify "overdesign" or "margin", it shall be better to write "margin". This is general for all.
45 | Call-out | 50 | Hasan Al Noaimi | Refinery south flare
46 | Callout | 51 | Julio.Aguilar | Please check and confirm whether the 371-Steam Generation and Distribution, South CLCW Letdown station is to be included. During HUB 1 the secondary cooling water system steam turbine and the steam turbine desuperheater will be in operation.
47 | Text Box | 54 | Julio.Aguilar | The information in this Utility Block Flow Diagram is to be revised to reflect the BOD, PFDs and PIDs changes.