## 930-L-GAD-00001-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
2 |  | 1 | AutoCAD SHX Text | ~
3 |  | 1 | AutoCAD SHX Text | S/S
4 |  | 1 | AutoCAD SHX Text | CIVIL WORKS
5 | Cloud | 1 | Edgardo
6 |  | 1 | AutoCAD SHX Text | ~
7 |  | 1 | AutoCAD SHX Text | ROAD WIDTH
8 |  | 1 | AutoCAD SHX Text | PLANT No:-58
9 |  | 1 | AutoCAD SHX Text | BRA-37035
10 |  | 1 | AutoCAD SHX Text | IP-7038-S
11 |  | 1 | AutoCAD SHX Text | SECTION "B-B"
12 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
13 |  | 1 | AutoCAD SHX Text | IP-6005-S
14 |  | 1 | AutoCAD SHX Text | TYPE "C2"
15 |  | 1 | AutoCAD SHX Text | STH PROCESS
16 |  | 1 | AutoCAD SHX Text | I.P. N%%D
17 |  | 1 | AutoCAD SHX Text | YARD AREA
18 |  | 1 | AutoCAD SHX Text | 2
19 | Strikethrough | 1 | Mahdi Ali
20 |  | 1 | AutoCAD SHX Text | = =
21 |  | 1 | AutoCAD SHX Text | D-8402
22 |  | 1 | AutoCAD SHX Text | PLANT No:-16
23 |  | 1 | AutoCAD SHX Text | TI-702S
24 |  | 1 | AutoCAD SHX Text | FCCU
25 |  | 1 | AutoCAD SHX Text | CONC. BANK
26 | Call-out | 1 | Edgardo | Please confirm how the interface with the existing refinery will be handled, such as the tie-in points. The above tables of interfaces showed only ROC and MOC as the Originating and Receiving work package, respectively
27 |  | 1 | AutoCAD SHX Text | East
28 |  | 1 | AutoCAD SHX Text | GRADE ELEV.
29 |  | 1 | AutoCAD SHX Text | FL
30 |  | 1 | AutoCAD SHX Text | B
31 |  | 1 | AutoCAD SHX Text | IP-3029-S
32 |  | 1 | AutoCAD SHX Text | 6000 7200
33 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
34 |  | 1 | AutoCAD SHX Text | HEIGHT (H)
35 |  | 1 | AutoCAD SHX Text | No:-1
36 | Arrow | 1 | Edgardo
37 |  | 1 | AutoCAD SHX Text | North
38 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
39 |  | 1 | AutoCAD SHX Text | PITCH
40 | Ellipse | 1 | Ebrahim
41 |  | 1 | AutoCAD SHX Text | = =
42 |  | 1 | AutoCAD SHX Text | AXIS COORDINATES (m)
43 |  | 1 | AutoCAD SHX Text | W
44 |  | 1 | AutoCAD SHX Text | H
45 |  | 1 | AutoCAD SHX Text | 6
46 |  | 1 | AutoCAD SHX Text | E=1800m
47 |  | 1 | AutoCAD SHX Text | BATTERY LIMIT
48 |  | 1 | AutoCAD SHX Text | BRA-38305
49 |  | 1 | AutoCAD SHX Text | PITCH
50 |  | 1 | AutoCAD SHX Text | CWR
51 |  | 1 | AutoCAD SHX Text | INTERFACE TABLE FOR ROADS (6)
52 |  | 1 | AutoCAD SHX Text | W
53 |  | 1 | AutoCAD SHX Text | EXTERNAL
54 |  | 1 | AutoCAD SHX Text | TYP. SECTION
55 |  | 1 | AutoCAD SHX Text | ~
56 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
57 |  | 1 | AutoCAD SHX Text | 1103
58 |  | 1 | AutoCAD SHX Text | DIMENSIONS (mm)
59 |  | 1 | AutoCAD SHX Text | SKIM POND
60 | Callout | 1 | Robert.Kawitzki | If no ifo insert 'HOLD'. No blanks allowed
61 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
62 |  | 1 | AutoCAD SHX Text | W/S
63 |  | 1 | AutoCAD SHX Text | TYPE "R1"
64 |  | 1 | AutoCAD SHX Text | 120
65 |  | 1 | AutoCAD SHX Text | No:-3
66 |  | 1 | AutoCAD SHX Text | ~
67 |  | 1 | AutoCAD SHX Text | E=2100m
68 |  | 1 | AutoCAD SHX Text | CPVC
69 | Arrow | 1 | Edgardo
70 |  | 1 | AutoCAD SHX Text | PREVALING
71 |  | 1 | AutoCAD SHX Text | 1102
72 |  | 1 | AutoCAD SHX Text | HIGH LIFT
73 |  | 1 | AutoCAD SHX Text | 9000/12000
74 |  | 1 | AutoCAD SHX Text | W
75 |  | 1 | AutoCAD SHX Text | FIRE PUMPS
76 |  | 1 | AutoCAD SHX Text | PUBLIC HEALTH
77 |  | 1 | AutoCAD SHX Text | = =
78 | Microsoft Word - Code 3 With Comments | 1 | Adel
79 |  | 1 | AutoCAD SHX Text | H.P BOILER
80 |  | 1 | AutoCAD SHX Text | ~
81 |  | 1 | AutoCAD SHX Text | TYPE "C4"
82 |  | 1 | AutoCAD SHX Text | BRA-72992
83 |  | 1 | AutoCAD SHX Text | OILY WATER SEWER
84 |  | 1 | AutoCAD SHX Text | EXISTING CSS
85 |  | 1 | AutoCAD SHX Text | NEW CSS
86 |  | 1 | AutoCAD SHX Text | RTRP
87 |  | 1 | AutoCAD SHX Text | 1102
88 |  | 1 | AutoCAD SHX Text | CABLE TRENCH
89 |  | 1 | AutoCAD SHX Text | SEPARATOR
90 | Callout | 1 | Robert.Kawitzki | How are these tie in points located?
91 |  | 1 | AutoCAD SHX Text | 5 DESAL
92 |  | 1 | AutoCAD SHX Text | 4
93 | Text Box | 1 | Ebrahim | TYPICAL: ANY LISTED DRAWING SHALL BE ADDED TO THE REFERENCE WITH THE ACTUAL TITLE DESCRIPTION
94 |  | 1 | AutoCAD SHX Text | RECEIVING WORK. PACKAGE
95 | Call-out | 1 | Ebrahim | 930-L-GAD-xxxx-xxx
96 |  | 1 | AutoCAD SHX Text | TI-306S
97 |  | 1 | AutoCAD SHX Text | No.2 HYDROGEN PLANT
98 |  | 1 | AutoCAD SHX Text | INTERFACE
99 |  | 1 | AutoCAD SHX Text | D-8403
100 |  | 1 | AutoCAD SHX Text | PL'T No:-55/93
101 |  | 1 | AutoCAD SHX Text | H
102 |  | 1 | AutoCAD SHX Text | TRUE
103 |  | 1 | AutoCAD SHX Text | TI-615S
104 |  | 1 | AutoCAD SHX Text | S/S
105 |  | 1 | AutoCAD SHX Text | I.P. N%%D
106 |  | 1 | AutoCAD SHX Text | EXPLANATION OF INTERFACE POINT NUMBERING
107 |  | 1 | AutoCAD SHX Text | MTCE
108 |  | 1 | AutoCAD SHX Text | H
109 |  | 1 | AutoCAD SHX Text | B
110 |  | 1 | AutoCAD SHX Text | = =
111 |  | 1 | AutoCAD SHX Text | MATERIAL
112 |  | 1 | AutoCAD SHX Text | COMPRESSOR
113 |  | 1 | AutoCAD SHX Text | H.L.P.H SWITCH
114 |  | 1 | AutoCAD SHX Text | PITCH
115 |  | 1 | AutoCAD SHX Text | PLANT No:-38
116 |  | 1 | AutoCAD SHX Text | No:-6
117 |  | 1 | AutoCAD SHX Text | TI-614S
118 |  | 1 | AutoCAD SHX Text | FIRE WATER
119 |  | 1 | AutoCAD SHX Text | TI-612S
120 |  | 1 | AutoCAD SHX Text | ~
121 |  | 1 | AutoCAD SHX Text | SERVICE
122 |  | 1 | AutoCAD SHX Text | CONTAMINATED STORMWATER SEWER
123 |  | 1 | AutoCAD SHX Text | SEPARATORS
124 |  | 1 | AutoCAD SHX Text | 7
125 |  | 1 | AutoCAD SHX Text | No. 7
126 |  | 1 | AutoCAD SHX Text | A
127 |  | 1 | AutoCAD SHX Text | PLANT 76
128 |  | 1 | AutoCAD SHX Text | AMENITY
129 |  | 1 | AutoCAD SHX Text | 2
130 |  | 1 | AutoCAD SHX Text | B-4
131 |  | 1 | AutoCAD SHX Text | PIPEWAY
132 |  | 1 | AutoCAD SHX Text | PL'T No:-91
133 |  | 1 | AutoCAD SHX Text | I.P. N%%D
134 |  | 1 | AutoCAD SHX Text | 1101
135 |  | 1 | AutoCAD SHX Text | H
136 |  | 1 | AutoCAD SHX Text | BOTT. ELEV.
137 |  | 1 | AutoCAD SHX Text | W'SHOP
138 | Callout | 1 | Robert.Kawitzki | Who does the valve belong to? ROC or MOC? Typ comment for P2 and P3
139 |  | 1 | AutoCAD SHX Text | KERO-MEROX
140 |  | 1 | AutoCAD SHX Text | NUMBER
141 | Cloud | 1 | Edgardo
142 |  | 1 | AutoCAD SHX Text | IP-7056-S
143 |  | 1 | AutoCAD SHX Text | (mm)
144 | Callout | 1 | Robert.Kawitzki | Which side is ROC or MOC?
145 |  | 1 | AutoCAD SHX Text | East
146 |  | 1 | AutoCAD SHX Text | WIDTH
147 |  | 1 | AutoCAD SHX Text | GRADE ELEV.
148 |  | 1 | AutoCAD SHX Text | A
149 | Call-out | 1 | Edgardo | Please confirm this type; this does not conform with the types shown in the table for underground lines
150 |  | 1 | AutoCAD SHX Text | 3
151 |  | 1 | AutoCAD SHX Text | 1500 2400
152 |  | 1 | AutoCAD SHX Text | AREA
153 |  | 1 | AutoCAD SHX Text | UNDERGROUND GRAVITY LINES
154 |  | 1 | AutoCAD SHX Text | CAT BAGING AREA
155 |  | 1 | AutoCAD SHX Text | FIRE WATER
156 |  | 1 | AutoCAD SHX Text | SHOULDER
157 |  | 1 | AutoCAD SHX Text | N
158 |  | 1 | AutoCAD SHX Text | UA14700
159 |  | 1 | AutoCAD SHX Text | PL'T No:-42/383
160 |  | 1 | AutoCAD SHX Text | (1 HDU)
161 |  | 1 | AutoCAD SHX Text | The present document or drawing is property of TECHNIP ITALY S.p.A. and shall not, under any circumstances, be totally or partially, directly or indirectly, transferred, reproduced, copied, disclosed or used, without its prior written consent, for any purpose and in any way other than that for which it is specifically furnished or outside the extent of the agreed upon right of use.
162 |  | 1 | AutoCAD SHX Text | & STH GAS STATIONS
163 |  | 1 | AutoCAD SHX Text | PETROL
164 |  | 1 | AutoCAD SHX Text | 81V8101
165 |  | 1 | AutoCAD SHX Text | WIND
166 |  | 1 | AutoCAD SHX Text | KERO-MEROX
167 |  | 1 | AutoCAD SHX Text | 2 PP GAS TURBINE AREA
168 |  | 1 | AutoCAD SHX Text | UNIT
169 |  | 1 | AutoCAD SHX Text | ROOM
170 |  | 1 | AutoCAD SHX Text | CATALYST LOADING
171 |  | 1 | AutoCAD SHX Text | C.S.
172 |  | 1 | AutoCAD SHX Text | IP-6037-S
173 | Ellipse | 1 | Ebrahim
174 |  | 1 | AutoCAD SHX Text | PL'T No:-351/2/3/4
175 |  | 1 | AutoCAD SHX Text | = =
176 |  | 1 | AutoCAD SHX Text | CABLE TRENCH
177 |  | 1 | AutoCAD SHX Text | CHLORINATION
178 |  | 1 | AutoCAD SHX Text | S/S
179 |  | 1 | AutoCAD SHX Text | EXISTING CSS
180 |  | 1 | AutoCAD SHX Text | 1401
181 |  | 1 | AutoCAD SHX Text | GCU & SLOP
182 |  | 1 | AutoCAD SHX Text | S/S
183 |  | 1 | AutoCAD SHX Text | WS
184 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
185 |  | 1 | AutoCAD SHX Text | BOTT. ELEV.
186 | Callout | 1 | Robert.Kawitzki | Text height shall be to project standards Typical comment
187 |  | 1 | AutoCAD SHX Text | GATE
188 |  | 1 | AutoCAD SHX Text | 5 AC
189 |  | 1 | AutoCAD SHX Text | 2 PP
190 |  | 1 | AutoCAD SHX Text | ~
191 |  | 1 | AutoCAD SHX Text | AXIS COORDINATES (m)
192 |  | 1 | AutoCAD SHX Text | OUTLET DITCH TO GULF
193 |  | 1 | AutoCAD SHX Text | SSW
194 |  | 1 | AutoCAD SHX Text | W
195 | Text Box | 1 | Mahdi Ali | Sheet number is part of the drawing number, i.e. 930-L-GAD-00001-001
196 |  | 1 | AutoCAD SHX Text | PROGRESSIVE
197 |  | 1 | AutoCAD SHX Text | 1301
198 |  | 1 | AutoCAD SHX Text | NORTH
199 |  | 1 | AutoCAD SHX Text | AXIS COORDINATES (m)
200 |  | 1 | AutoCAD SHX Text | VENT STACK
201 |  | 1 | AutoCAD SHX Text | 8
202 |  | 1 | AutoCAD SHX Text | COOLING WATER
203 |  | 1 | AutoCAD SHX Text | TI-203S
204 |  | 1 | AutoCAD SHX Text | 1105
205 |  | 1 | AutoCAD SHX Text | ~
206 |  | 1 | AutoCAD SHX Text | AREA OFFICE
207 |  | 1 | AutoCAD SHX Text | 2 PP L.P BOILER
208 | Arrow | 1 | Mahdi Ali
209 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
210 |  | 1 | AutoCAD SHX Text | BRA-72992
211 |  | 1 | AutoCAD SHX Text | 1302
212 |  | 1 | AutoCAD SHX Text | POND
213 |  | 1 | AutoCAD SHX Text | S/S
214 |  | 1 | AutoCAD SHX Text | NORTH
215 |  | 1 | AutoCAD SHX Text | TI-204S
216 |  | 1 | AutoCAD SHX Text | TI-XXXS
217 |  | 1 | AutoCAD SHX Text | SHOULDER
218 |  | 1 | AutoCAD SHX Text | S/S
219 | Callout | 1 | Robert.Kawitzki | Eastings of Roads missing
220 |  | 1 | AutoCAD SHX Text | IP-7057-S
221 |  | 1 | AutoCAD SHX Text | C.S.
222 |  | 1 | AutoCAD SHX Text | INTERFACE TABLE FOR UNDERGROUND GRAVITY LINES (1-2)
223 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
224 |  | 1 | AutoCAD SHX Text | SHOULDER
225 |  | 1 | AutoCAD SHX Text | CABLE TRENCH
226 |  | 1 | AutoCAD SHX Text | = =
227 |  | 1 | AutoCAD SHX Text | FLARES
228 |  | 1 | AutoCAD SHX Text | D-8401
229 |  | 1 | AutoCAD SHX Text | TYPE "P2"
230 |  | 1 | AutoCAD SHX Text | PIT
231 | Arrow | 1 | Ebrahim
232 |  | 1 | AutoCAD SHX Text | BURIED ASBESTOS AREA
233 |  | 1 | AutoCAD SHX Text | S/S
234 |  | 1 | AutoCAD SHX Text | UNDERGROUND PRESSURE LINES
235 |  | 1 | AutoCAD SHX Text | BRA-189171
236 | Text Box | 1 | Ebrahim | TO BE ADDED TO THE LEGEND WITH THE CORRECT LINE TYPE & LINE THICKNESS (TYPICAL)
237 |  | 1 | AutoCAD SHX Text | S/S
238 |  | 1 | AutoCAD SHX Text | CONT'L RM
239 |  | 1 | AutoCAD SHX Text | H.L FLARE
240 | Text Box | 1 | Robert.Kawitzki | The tie in locations shall be precise and non ambiguous. Typical comment all drawings
241 |  | 1 | AutoCAD SHX Text | S/S
242 |  | 1 | AutoCAD SHX Text | SERVICE
243 |  | 1 | AutoCAD SHX Text | 1106
244 |  | 1 | AutoCAD SHX Text | BRA-43696
245 |  | 1 | AutoCAD SHX Text | 1,2,3, & 4 DESAL PLANTS
246 |  | 1 | AutoCAD SHX Text | ORIGINATING WORK. PACKAGE
247 | Arrow | 1 | Ebrahim
248 |  | 1 | AutoCAD SHX Text | OILY WATER SEWER
249 |  | 1 | AutoCAD SHX Text | A
250 |  | 1 | AutoCAD SHX Text | GRADE
251 |  | 1 | AutoCAD SHX Text | 1104
252 |  | 1 | AutoCAD SHX Text | ~
253 |  | 1 | AutoCAD SHX Text | TYPE "C1"
254 |  | 1 | AutoCAD SHX Text | CONTRACTORS
255 |  | 1 | AutoCAD SHX Text | ALBA HAUL ROAD
256 |  | 1 | AutoCAD SHX Text | CENTRALISED
257 |  | 1 | AutoCAD SHX Text | W/S
258 |  | 1 | AutoCAD SHX Text | TYPE "R2"
259 |  | 1 | AutoCAD SHX Text | 5
260 |  | 1 | AutoCAD SHX Text | No:-4
261 |  | 1 | AutoCAD SHX Text | PL'T No:-58/372
262 |  | 1 | AutoCAD SHX Text | No.2 SULPHUR PLANT
263 |  | 1 | AutoCAD SHX Text | ZONE
264 |  | 1 | AutoCAD SHX Text | 81V8102
265 |  | 1 | AutoCAD SHX Text | BRA-130240
266 |  | 1 | AutoCAD SHX Text | 1500 2400
267 |  | 1 | AutoCAD SHX Text | POND
268 |  | 1 | AutoCAD SHX Text | TYPE "C3"
269 |  | 1 | AutoCAD SHX Text | RECEIVING WORK. PACKAGE
270 | Line | 1 | Robert.Kawitzki
271 |  | 1 | AutoCAD SHX Text | INLET FLUMES FROM
272 |  | 1 | AutoCAD SHX Text | SERVICE
273 |  | 1 | AutoCAD SHX Text | L.L.P.H TO H.L.P.H
274 |  | 1 | AutoCAD SHX Text | SERVICE
275 |  | 1 | AutoCAD SHX Text | W'SHOP
276 |  | 1 | AutoCAD SHX Text | 6000 7200
277 |  | 1 | AutoCAD SHX Text | N
278 |  | 1 | AutoCAD SHX Text | WORK PACKAGE LIMIT
279 | Callout | 1 | Robert.Kawitzki | Distance required. Typical comment
280 |  | 1 | AutoCAD SHX Text | I.P. N%%D
281 |  | 1 | AutoCAD SHX Text | NUMBER
282 |  | 1 | AutoCAD SHX Text | EXISTING ELECT.CABLE TRENCH
283 |  | 1 | AutoCAD SHX Text | PLANT N-84
284 |  | 1 | AutoCAD SHX Text | LBOP UNIT
285 |  | 1 | AutoCAD SHX Text | TYPICAL FOR ROADS WITH SHOULDER
286 |  | 1 | AutoCAD SHX Text | SHOULDER
287 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
288 |  | 1 | AutoCAD SHX Text | BRB-44540
289 |  | 1 | AutoCAD SHX Text | PLANT
290 |  | 1 | AutoCAD SHX Text | 5 SEPERATOR
291 |  | 1 | AutoCAD SHX Text | INTERFACE TABLE FOR UNDERGROUND PRESSURE LINES (3-4-5)
292 |  | 1 | AutoCAD SHX Text | TI-701S
293 |  | 1 | AutoCAD SHX Text | IP-2014-S
294 |  | 1 | AutoCAD SHX Text | IP-6038-S
295 |  | 1 | AutoCAD SHX Text | PL'T No:-20
296 |  | 1 | AutoCAD SHX Text | DRINKING WATER
297 |  | 1 | AutoCAD SHX Text | WS
298 |  | 1 | AutoCAD SHX Text | PITCH
299 |  | 1 | AutoCAD SHX Text | CONC. BANK
300 |  | 1 | AutoCAD SHX Text | TI-207S
301 |  | 1 | AutoCAD SHX Text | POINT
302 |  | 1 | AutoCAD SHX Text | PLANT No:-58
303 |  | 1 | AutoCAD SHX Text | No:-5
304 |  | 1 | AutoCAD SHX Text | SERVICE
305 |  | 1 | AutoCAD SHX Text | TI-611S
306 |  | 1 | AutoCAD SHX Text | TI-704S
307 |  | 1 | AutoCAD SHX Text | PLANT N-84
308 |  | 1 | AutoCAD SHX Text | UNLOADING AREA
309 |  | 1 | AutoCAD SHX Text | 1201
310 |  | 1 | AutoCAD SHX Text | No.1 HYDROCRACKING UNIT
311 |  | 1 | AutoCAD SHX Text | REFINERY
312 |  | 1 | AutoCAD SHX Text | PIPEWAY
313 |  | 1 | AutoCAD SHX Text | = =
314 |  | 1 | AutoCAD SHX Text | CONTAMINATED STORMWATER SEWER
315 |  | 1 | AutoCAD SHX Text | WIDTH
316 | Text Box | 1 | Robert.Kawitzki
317 |  | 1 | AutoCAD SHX Text | E=1500m
318 |  | 1 | AutoCAD SHX Text | TRANSITION PIECE
319 | Callout | 1 | Robert.Kawitzki | Interface point does not relate to standard drawing
320 |  | 1 | AutoCAD SHX Text | H
321 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
322 | Text Box | 1 | Ebrahim | NOT MATCHING WITH AREA 2 DRAWING. THE CONTINUATION OF THIS PART IS ON AREA 4!
323 |  | 1 | AutoCAD SHX Text | No:-2
324 |  | 1 | AutoCAD SHX Text | R=12/7.50
325 |  | 1 | AutoCAD SHX Text | TI-305S
326 |  | 1 | AutoCAD SHX Text | IP-6012-S
327 |  | 1 | AutoCAD SHX Text | POND
328 |  | 1 | AutoCAD SHX Text | SERVICE
329 | Arrow | 1 | Edgardo
330 |  | 1 | AutoCAD SHX Text | RTRP
331 |  | 1 | AutoCAD SHX Text | COOLING WATER SUPPLY
332 |  | 1 | AutoCAD SHX Text | IP-6030-S
333 |  | 1 | AutoCAD SHX Text | POND
334 |  | 1 | AutoCAD SHX Text | 1500 2400
335 |  | 1 | AutoCAD SHX Text | PROGRESSIVE
336 |  | 1 | AutoCAD SHX Text | LEGEND
337 |  | 1 | AutoCAD SHX Text | BRA-39009
338 | Callout | 1 | Robert.Kawitzki | Standard note required that owner of the valve is responsible for gaskets and bolts for the BOM. Typ comment for P2 and P3
339 |  | 1 | AutoCAD SHX Text | PROGRESSIVE NUMBER
340 |  | 1 | AutoCAD SHX Text | North
341 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
342 |  | 1 | AutoCAD SHX Text | LSDP
343 |  | 1 | AutoCAD SHX Text | SHOULDER WIDTH
344 |  | 1 | AutoCAD SHX Text | TYPE "P1"
345 |  | 1 | AutoCAD SHX Text | AC PLANT
346 |  | 1 | AutoCAD SHX Text | SERVICE
347 |  | 1 | AutoCAD SHX Text | W
348 |  | 1 | AutoCAD SHX Text | POINT
349 |  | 1 | AutoCAD SHX Text | North
350 |  | 1 | AutoCAD SHX Text | STP PLANT No:-387 BRB-219185
351 |  | 1 | AutoCAD SHX Text | PITCH
352 |  | 1 | AutoCAD SHX Text | 3,4 & 5
353 |  | 1 | AutoCAD SHX Text | B.O.P. Invert Elevation (m)
354 |  | 1 | AutoCAD SHX Text | IP-7037-S
355 | Arrow | 1 | Robert.Kawitzki
356 |  | 1 | AutoCAD SHX Text | BOTTOM
357 | Arrow | 1 | Ebrahim
358 |  | 1 | AutoCAD SHX Text | IP-7029-S
359 |  | 1 | AutoCAD SHX Text | & COMP AREA
360 |  | 1 | AutoCAD SHX Text | IP-3018-S
361 |  | 1 | AutoCAD SHX Text | GRADE ELEV.
362 |  | 1 | AutoCAD SHX Text | TRANSITION PIECE
363 |  | 1 | AutoCAD SHX Text | TI-201S
364 |  | 1 | AutoCAD SHX Text | NA28003
365 |  | 1 | AutoCAD SHX Text | DITCH TO GULF
366 |  | 1 | AutoCAD SHX Text | ORIGINATING WORK. PACKAGE
367 |  | 1 | AutoCAD SHX Text | CIVIL WORKS
368 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
369 |  | 1 | AutoCAD SHX Text | DRINKING WATER
370 |  | 1 | AutoCAD SHX Text | 5 VDU
371 |  | 1 | AutoCAD SHX Text | PL'T No:-6/7
372 |  | 1 | AutoCAD SHX Text | & STH GAS STATIONS
373 |  | 1 | AutoCAD SHX Text | TI-613S
374 |  | 1 | AutoCAD SHX Text | TYPE
375 |  | 1 | AutoCAD SHX Text | IP-EXXX-S
376 | Strikethrough | 1 | Mahdi Ali
377 |  | 1 | AutoCAD SHX Text | INTERFACE
378 |  | 1 | AutoCAD SHX Text | POND
379 |  | 1 | AutoCAD SHX Text | BRA-127446
380 |  | 1 | AutoCAD SHX Text | PITCH
381 |  | 1 | AutoCAD SHX Text | O&M OFFICES
382 |  | 1 | AutoCAD SHX Text | North
383 | Arrow | 1 | Ebrahim
384 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
385 |  | 1 | AutoCAD SHX Text | NTH GAS STATIONS
386 |  | 1 | AutoCAD SHX Text | 140
387 | Text Box | 1 | Sankara | General Comments: Electrical 1.Review of electrical cable routing has been limited to the concept only. Actual dimensions of the cable trenches can be reviewed only after detailed design has progressed to make the size, quantity and other details known. 2.Legend to be shown for the electrical cables / cable route. 3.Use of existing cable routing to be avoided; if cable routing parallel to existing routing is selected, this shall be based on field verification.( Example: KRU) 4.Each tie-in( Example: TI 701S) shall be detailed in tie-in dossier and shall be prepared after site surveys. 5.External interfaces such as interfaces for electrical power from EWA shall also be identified and indicated.
388 |  | 1 | AutoCAD SHX Text | BOTT. ELEV.
389 |  | 1 | AutoCAD SHX Text | TI-619S
390 |  | 1 | AutoCAD SHX Text | TIE-INS LIST
391 |  | 1 | AutoCAD SHX Text | ROOM
392 | Text Box | 1 | Robert.Kawitzki | 1:1000 Scale bar to be placed here. Bottom right corner is typical
393 |  | 1 | AutoCAD SHX Text | CWS
394 |  | 1 | AutoCAD SHX Text | A
395 |  | 1 | AutoCAD SHX Text | PL'T No:-351/2/3/4
396 |  | 1 | AutoCAD SHX Text | BRA-64535
397 |  | 1 | AutoCAD SHX Text | 475
398 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
399 |  | 1 | AutoCAD SHX Text | MATERIAL
400 |  | 1 | AutoCAD SHX Text | PLANT 78
401 |  | 1 | AutoCAD SHX Text | EXISTING FL
402 | Callout | 1 | Robert.Kawitzki | Do we need an interface from ROC to MOC for the pipeway? Pipeway is not located
403 |  | 1 | AutoCAD SHX Text | ~
404 | Text Box | 1 | Jeung.Kim | Contractor is requested to confirm what is the development by Contractor and also what point is expected IPMT to review
405 |  | 1 | AutoCAD SHX Text | ELECTRICAL CABLES, INSTRUMENT CABLES
406 |  | 1 | AutoCAD SHX Text | 9000/12000
407 |  | 1 | AutoCAD SHX Text | RERUN
408 |  | 1 | AutoCAD SHX Text | #6 OIL&WATER
409 |  | 1 | AutoCAD SHX Text | R=7.50
410 |  | 1 | AutoCAD SHX Text | DIST "A"
411 |  | 1 | AutoCAD SHX Text | IP-6031-S
412 |  | 1 | AutoCAD SHX Text | = =
413 | Arrow | 1 | Edgardo
414 |  | 1 | AutoCAD SHX Text | W/S
415 |  | 1 | AutoCAD SHX Text | BRA-130240
416 |  | 1 | AutoCAD SHX Text | 2
417 |  | 1 | AutoCAD SHX Text | East
418 |  | 1 | AutoCAD SHX Text | PIPEWAY
419 |  | 1 | AutoCAD SHX Text | STORAGE
420 |  | 1 | AutoCAD SHX Text | 1302
421 |  | 1 | AutoCAD SHX Text | 1
422 | Arrow | 1 | Ebrahim
423 |  | 1 | AutoCAD SHX Text | UNIT
424 |  | 1 | AutoCAD SHX Text | PIT
425 |  | 1 | AutoCAD SHX Text | FCCU H.L FLARE
426 |  | 1 | AutoCAD SHX Text | EXPLANATION OF TIE-IN POINT NUMBERING
427 |  | 1 | AutoCAD SHX Text | TI-202S
428 | Call-out | 1 | Edgardo | The type of services mentioned does not include the process and other utility lines; please advise how the process and other utility lines interfaces will be handled
429 |  | 1 | AutoCAD SHX Text | TI-308S
430 |  | 1 | AutoCAD SHX Text | BRA-31237
431 |  | 1 | AutoCAD SHX Text | POND
432 |  | 1 | AutoCAD SHX Text | WET GAS
433 |  | 1 | AutoCAD SHX Text | S/S
434 |  | 1 | AutoCAD SHX Text | TYPE
435 |  | 1 | AutoCAD SHX Text | LBOP UNIT
436 |  | 1 | AutoCAD SHX Text | IP-7065-S
437 |  | 1 | AutoCAD SHX Text | PLANT No:-32
438 |  | 1 | AutoCAD SHX Text | FIELD WORKSHOP
439 |  | 1 | AutoCAD SHX Text | No:-5
440 |  | 1 | AutoCAD SHX Text | BURIED ASBESTOS AREA
441 |  | 1 | AutoCAD SHX Text | SERVICE
442 |  | 1 | AutoCAD SHX Text | A
443 |  | 1 | AutoCAD SHX Text | IP-7011-S
444 |  | 1 | AutoCAD SHX Text | TI-601S
445 |  | 1 | AutoCAD SHX Text | PL'T No:-22/24
446 |  | 1 | AutoCAD SHX Text | TYPE "P2"
447 |  | 1 | AutoCAD SHX Text | 278
448 |  | 1 | AutoCAD SHX Text | FCCU H.L
449 |  | 1 | AutoCAD SHX Text | INTERFACE POINT
450 |  | 1 | AutoCAD SHX Text | TYPICAL FOR ROADS WITHOUT SHOULDER
451 |  | 1 | AutoCAD SHX Text | PITCH
452 |  | 1 | AutoCAD SHX Text | TI-304S
453 |  | 1 | AutoCAD SHX Text | TI-205S
454 |  | 1 | AutoCAD SHX Text | STATION
455 |  | 1 | AutoCAD SHX Text | PLANT No:-16
456 |  | 1 | AutoCAD SHX Text | IP-6003-S
457 |  | 1 | AutoCAD SHX Text | FENCE LIMIT
458 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
459 |  | 1 | AutoCAD SHX Text | TYPE "P3"
460 |  | 1 | AutoCAD SHX Text | STORAGE
461 |  | 1 | AutoCAD SHX Text | PITCH
462 |  | 1 | AutoCAD SHX Text | FCCU & 5 CDU
463 |  | 1 | AutoCAD SHX Text | BOTT. ELEV.
464 |  | 1 | AutoCAD SHX Text | ROADS
465 |  | 1 | AutoCAD SHX Text | N= -300m (S-300)
466 |  | 1 | AutoCAD SHX Text | DIMENSIONS (mm)
467 |  | 1 | AutoCAD SHX Text | IP-XXXX-S
468 |  | 1 | AutoCAD SHX Text | SECTION "A-A"
469 |  | 1 | AutoCAD SHX Text | PITCH
470 |  | 1 | AutoCAD SHX Text | REMOTE H.L &
471 |  | 1 | AutoCAD SHX Text | CIVIL WORKS
472 | Arrow | 1 | Edgardo
473 |  | 1 | AutoCAD SHX Text | SECTION "A-A"
474 |  | 1 | AutoCAD SHX Text | ABSOLUTE ELEVATION (m)
475 |  | 1 | AutoCAD SHX Text | 77V7740
476 |  | 1 | AutoCAD SHX Text | S/S
477 |  | 1 | AutoCAD SHX Text | 30°
478 |  | 1 | AutoCAD SHX Text | GRADE ELEV.
479 |  | 1 | AutoCAD SHX Text | TI-206S
480 |  | 1 | AutoCAD SHX Text | TYPE
481 |  | 1 | AutoCAD SHX Text | A
482 |  | 1 | AutoCAD SHX Text | POND
483 |  | 1 | AutoCAD SHX Text | RTRP
484 |  | 1 | AutoCAD SHX Text | BRA-72991
485 | Arrow | 1 | Robert.Kawitzki
486 |  | 1 | AutoCAD SHX Text | CONTROL
487 | Line | 1 | Robert.Kawitzki
488 |  | 1 | AutoCAD SHX Text | COOLING WATER RETURN
489 |  | 1 | AutoCAD SHX Text | TI-610S
490 |  | 1 | AutoCAD SHX Text | FLARE
491 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
492 |  | 1 | AutoCAD SHX Text | 476
493 |  | 1 | AutoCAD SHX Text | PITCH
494 |  | 1 | AutoCAD SHX Text | TYPE
495 |  | 1 | AutoCAD SHX Text | PIPEWAY
496 |  | 1 | AutoCAD SHX Text | ABSOLUTE TOP Elevation (m)
497 |  | 1 | AutoCAD SHX Text | No:-4
498 |  | 1 | AutoCAD SHX Text | POND
499 | Call-out | 1 | Ebrahim | 930-L-GAD-xxxx-xxx
500 |  | 1 | AutoCAD SHX Text | CL Elevation (m)
501 |  | 1 | AutoCAD SHX Text | ~
502 |  | 1 | AutoCAD SHX Text | 2 PP GAS TURBINE AREA
503 |  | 1 | AutoCAD SHX Text | P/H
504 |  | 1 | AutoCAD SHX Text | BRA-31237
505 |  | 1 | AutoCAD SHX Text | WS
506 |  | 1 | AutoCAD SHX Text | TIE-IN POINT
507 |  | 1 | AutoCAD SHX Text | W/S
508 |  | 1 | AutoCAD SHX Text | TI-703S
509 |  | 1 | AutoCAD SHX Text | IP-3064-S
510 |  | 1 | AutoCAD SHX Text | 2 PP TK277 &
511 |  | 1 | AutoCAD SHX Text | H
512 | Text Box | 1 | Mahdi Ali | Material class L is for Piping. Material class 'A' shall be used for this drawing. (Typ.)
513 |  | 1 | AutoCAD SHX Text | SECTION "A-A"
514 |  | 1 | AutoCAD SHX Text | No:-2
515 |  | 1 | AutoCAD SHX Text | OWS
516 |  | 1 | AutoCAD SHX Text | IP-6029-S
517 |  | 1 | AutoCAD SHX Text | East
518 |  | 1 | AutoCAD SHX Text | ~
519 |  | 1 | AutoCAD SHX Text | (COMSIP)
520 |  | 1 | AutoCAD SHX Text | NEW CSS
521 |  | 1 | AutoCAD SHX Text | ORIGINATING WORK. PACKAGE
522 |  | 1 | AutoCAD SHX Text | BRA-189171
523 |  | 1 | AutoCAD SHX Text | CSS
524 |  | 1 | AutoCAD SHX Text | S/S
525 |  | 1 | AutoCAD SHX Text | ~
526 |  | 1 | AutoCAD SHX Text | SANITARY SEWER
527 | Call-out | 1 | Ebrahim | 930-L-GAD-xxxx-xxx
528 |  | 1 | AutoCAD SHX Text | ORIGINATING WORK. PACKAGE
529 |  | 1 | AutoCAD SHX Text | PLANT 77
530 | Callout | 1 | Robert.Kawitzki | What does this interface with?
531 |  | 1 | AutoCAD SHX Text | PL'T No:-20
532 |  | 1 | AutoCAD SHX Text | PLATFORMER
533 |  | 1 | AutoCAD SHX Text | N= -600m (S-600)
534 |  | 1 | AutoCAD SHX Text | 1103
535 | Strikethrough | 1 | Mahdi Ali
536 |  | 1 | AutoCAD SHX Text | INTERFACE TABLE FOR UNDERGROUND ELECTRICAL/INSTRUMENT CABLE TRENCHES (7)
537 |  | 1 | AutoCAD SHX Text | No:-50
538 | Callout | 1 | Robert.Kawitzki | Why is this shown with a shoulder if the chart shows it as a R2?
539 |  | 1 | AutoCAD SHX Text | 1,2,3, & 4 DESAL PLANTS
540 |  | 1 | AutoCAD SHX Text | RECEIVING WORK. PACKAGE
541 |  | 1 | AutoCAD SHX Text | TYPE "P1"
542 |  | 1 | AutoCAD SHX Text | ROOM
543 |  | 1 | AutoCAD SHX Text | PUMP HSE
544 |  | 1 | AutoCAD SHX Text | ~
545 | Callout | 1 | Robert.Kawitzki | Text height to project standards. Typical comment
546 |  | 1 | AutoCAD SHX Text | POND
547 |  | 1 | AutoCAD SHX Text | BRB-72993
548 |  | 1 | AutoCAD SHX Text | CABLE TRENCH
549 |  | 1 | AutoCAD SHX Text | AXIS COORDINATES (m)
550 |  | 1 | AutoCAD SHX Text | 1 PLATFORMER
551 |  | 1 | AutoCAD SHX Text | IP-1014-S
552 |  | 1 | AutoCAD SHX Text | SERVICE
553 |  | 1 | AutoCAD SHX Text | 1500 2400
554 |  | 1 | AutoCAD SHX Text | C.S.
555 |  | 1 | AutoCAD SHX Text | S/S
556 |  | 1 | AutoCAD SHX Text | CT'L
557 |  | 1 | AutoCAD SHX Text | HIGH SECURITY FENCE
558 |  | 1 | AutoCAD SHX Text | ALBA HAUL ROAD
559 |  | 1 | AutoCAD SHX Text | DW
560 | Callout | 1 | Robert.Kawitzki | Where does the FGL change from 9000 to 7000? Is this pipeway sloped? Or do the pipes have bends? Need to know for the interface from ROC to MOC
561 |  | 1 | AutoCAD SHX Text | WIDTH (W)
562 |  | 1 | AutoCAD SHX Text | CLEAN WATER
563 |  | 1 | AutoCAD SHX Text | No:-3
564 |  | 1 | AutoCAD SHX Text | BRA-38286
565 |  | 1 | AutoCAD SHX Text | 4A CDU
566 |  | 1 | AutoCAD SHX Text | (Inches)
567 |  | 1 | AutoCAD SHX Text | POND
568 |  | 1 | AutoCAD SHX Text | RECEIVING WORK. PACKAGE
569 |  | 1 | AutoCAD SHX Text | 5 DESAL
570 |  | 1 | AutoCAD SHX Text | STH P'H
571 |  | 1 | AutoCAD SHX Text | BATTERY LIMIT
572 |  | 1 | AutoCAD SHX Text | MICROSCRUBBER
573 |  | 1 | AutoCAD SHX Text | TYPE "P3"
574 |  | 1 | AutoCAD SHX Text | 278
575 |  | 1 | AutoCAD SHX Text | BATTERY LIMIT