## 930-L-GAD-00001-003-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | IP-3070-S
2 | Callout | 1 | Why is there no interface point here? Typical comment
3 |  | 1 | ~
4 |  | 1 | COMPRESSOR
5 |  | 1 | No.1 SALT WATER MAIN
6 |  | 1 | SEA WATER RETURN FROM N0.2 SPLANT AND NO.2 HYDROGEN PLANT PIPE
7 |  | 1 | SEA WATER RETURN FROM N0.2 SPLANT AND NO.2 HYDROGEN PLANT PIPE
8 |  | 1 | SERVICE
9 |  | 1 | H
10 |  | 1 | 1500 2400
11 |  | 1 | OILY WATER SEWER
12 |  | 1 | BRA-38286
13 |  | 1 | TRANSITION PIECE
14 |  | 1 | EXISTING PIPEWAY
15 |  | 1 | FLARE
16 |  | 1 | 5 AC
17 |  | 1 | (mm)
18 |  | 1 | East
19 |  | 1 | No:-3
20 |  | 1 | POND
21 |  | 1 | TYPE "C1"
22 |  | 1 | SANITARY SEWER
23 |  | 1 | CIVIL WORKS
24 |  | 1 | 2 PP GAS TURBINE AREA
25 |  | 1 | TYPE
26 |  | 1 | 4
27 |  | 1 | SERVICE
28 |  | 1 | 1401
29 |  | 1 | EXPLANATION OF INTERFACE POINT NUMBERING
30 |  | 1 | SERVICE
31 |  | 1 | No.1 HYDROCRACKING UNIT
32 |  | 1 | = =
33 |  | 1 | INVERT LEVEL (B.D.)
34 |  | 1 | REFINERY
35 |  | 1 | STORAGE
36 |  | 1 | PIPE
37 |  | 1 | ROOM
38 |  | 1 | BRA-130240
39 |  | 1 | TYPE "D1"
40 |  | 1 | #6 OIL&WATER
41 |  | 1 | PITCH
42 |  | 1 | OIL CONTAMINATED PIPE
43 |  | 1 | INTERFACE TABLE FOR R.C. DITCHES (8)
44 |  | 1 | 1302
45 |  | 1 | INTERFACE TABLE FOR UNDERGROUND GRAVITY LINES (1-2)
46 |  | 1 | ~
47 |  | 1 | TYPE "P2"
48 |  | 1 | PIPES
49 |  | 1 | 120
50 |  | 1 | PL'T No:-351/2/3/4
51 |  | 1 | TI-301S
52 |  | 1 | FIRE PUMPS
53 |  | 1 | PIPE
54 |  | 1 | TYPE "P1"
55 |  | 1 | PLATFORMER
56 |  | 1 | SEPARATORS
57 |  | 1 | DITCH TO GULF
58 |  | 1 | A
59 |  | 1 | W
60 |  | 1 | YARD AREA
61 |  | 1 | TYPE
62 |  | 1 | PLANT No:-32
63 |  | 1 | 1101
64 |  | 1 | (Inches)
65 |  | 1 | GRADE ELEV.
66 |  | 1 | INTERFACE POINT
67 |  | 1 | = =
68 |  | 1 | 2 PP L.P BOILER
69 |  | 1 | SANITARY SEWER PIPE
70 |  | 1 | (1 HDU)
71 |  | 1 | FLARE
72 |  | 1 | LBOP UNIT
73 |  | 1 | I.P. N%%D
74 |  | 1 | INTERFACE POINT
75 |  | 1 | IP-7032-S
76 |  | 1 | WET GAS
77 |  | 1 | BRA-72992
78 |  | 1 | No:-5
79 |  | 1 | MATERIAL
80 |  | 1 | IP-3073-S
81 |  | 1 | 5 VDU
82 |  | 1 | B
83 |  | 1 | IP-7030-S
84 |  | 1 | BURIED ASBESTOS AREA
85 |  | 1 | PL'T No:-22/24
86 |  | 1 | BRA-64535
87 |  | 1 | SEA WATER RETURN FROM N0.2 SPLANT AND NO.2 HYDROGEN PLANT PIPE
88 |  | 1 | N= -300m (S-300)
89 |  | 1 | S/S
90 |  | 1 | CHLORINATION
91 |  | 1 | IP-4038-S
92 |  | 1 | ROAD WIDTH
93 |  | 1 | INTERFACE
94 |  | 1 | H
95 |  | 1 | S/S
96 |  | 1 | CONTAMINATED STORM
97 |  | 1 | NTH GAS STATIONS
98 |  | 1 | S/S
99 |  | 1 | ORIGINATING WORK. PACKAGE
100 |  | 1 | PUBLIC HEALTH
101 |  | 1 | COOLING WATER
102 |  | 1 | IP-2025-S
103 |  | 1 | I.P. N%%D
104 |  | 1 | N= -600m (S-600)
105 |  | 1 | No.2 SULPHUR PLANT
106 |  | 1 | H
107 |  | 1 | VENT STACK
108 |  | 1 | POND
109 |  | 1 | H.L FLARE
110 |  | 1 | PIPE
111 |  | 1 | PIPE
112 |  | 1 | BRA-127446
113 |  | 1 | IP-1024-S
114 |  | 1 | = =
115 |  | 1 | 2
116 |  | 1 | AREA OFFICE
117 |  | 1 | 6000 7200
118 |  | 1 | L.L.P.H TO H.L.P.H
119 |  | 1 | ORIGINATING WORK. PACKAGE
120 |  | 1 | H
121 |  | 1 | PIPE
122 | Callout | 1 | What are these lines? Show on legend
123 |  | 1 | PIPE
124 |  | 1 | CABLE TRENCH
125 |  | 1 | 7
126 |  | 1 | PLANT 78
127 |  | 1 | CIVIL WORKS
128 |  | 1 | INTERFACE POINT
129 |  | 1 | HIGH SECURITY FENCE
130 |  | 1 | PIPE
131 |  | 1 | HYDROGEN SULPHIDE (OILY WATER FROM OWS SUMP PUMP TO NO.3 API SEPARATOR)
132 |  | 1 | TI-616S
133 |  | 1 | ROADS
134 |  | 1 | PIPE
135 |  | 1 | CAT BAGING AREA
136 |  | 1 | KERO-MEROX
137 |  | 1 | PIPEWAY
138 |  | 1 | IP-3076-S
139 |  | 1 | BRA-38305
140 |  | 1 | East
141 |  | 1 | 1201
142 |  | 1 | (LOCATION - approx.)
143 |  | 1 | PIPE
144 |  | 1 | IP-7043-S
145 |  | 1 | STORAGE
146 |  | 1 | IP-1025-S
147 |  | 1 | R=7.50
148 |  | 1 | PIT
149 |  | 1 | IP-6061-S
150 |  | 1 | D-8401
151 |  | 1 | 5 SEPERATOR
152 |  | 1 | POND
153 |  | 1 | H
154 |  | 1 | INVERT LEVEL (B.D.)
155 |  | 1 | PIPES
156 |  | 1 | 81V8102
157 |  | 1 | PIPE
158 |  | 1 | IP-2024-S
159 |  | 1 | 4A CDU
160 |  | 1 | PIPE
161 |  | 1 | TI-307S
162 |  | 1 | W'SHOP
163 |  | 1 | DIMENSIONS (mm)
164 |  | 1 | W/S
165 |  | 1 | IP-6026-S
166 |  | 1 | E=2400m
167 |  | 1 | CPVC
168 |  | 1 | WS
169 |  | 1 | TYPE "P3"
170 |  | 1 | PLANT 76
171 |  | 1 | North
172 |  | 1 | W'SHOP
173 |  | 1 | PL'T No:-20
174 |  | 1 | DRINKING WATER
175 |  | 1 | PIPE
176 |  | 1 | BATTERY LIMIT
177 |  | 1 | INTERFACE POINT
178 |  | 1 | O&M OFFICES
179 |  | 1 | No.2 SALT WATER MAIN TO LSDP
180 |  | 1 | IP-EXXX-S
181 |  | 1 | FCCU & 5 CDU
182 |  | 1 | IP-7034-S
183 |  | 1 | UNLOADING AREA
184 |  | 1 | & STH GAS STATIONS
185 |  | 1 | WIDTH
186 |  | 1 | TYPE "D3"
187 |  | 1 | O&M OFFICES
188 |  | 1 | PIT
189 |  | 1 | IP-7030-S
190 |  | 1 | CONTAMINATED STORMWATER SEWER
191 |  | 1 | HIGH SECURITY FENCE
192 |  | 1 | OILY WATER SEWER PIPE
193 |  | 1 | PIPE
194 | Callout | 1 | How are these tie ins located?
195 |  | 1 | PIPE
196 |  | 1 | = =
197 |  | 1 | SECTION "A-A"
198 |  | 1 | HEIGHT (H)
199 |  | 1 | SEPARATOR
200 |  | 1 | WIDTH (W)
201 |  | 1 | North
202 |  | 1 | PIT
203 |  | 1 | IP-6024-S
204 |  | 1 | IP-7045-S
205 |  | 1 | PL'T No:-58/372
206 |  | 1 | POINT
207 |  | 1 | BRB-72993
208 |  | 1 | IP-6021-S
209 |  | 1 | SHOULDER
210 |  | 1 | TYPE "C3"
211 |  | 1 | IP-4033-S
212 |  | 1 | H.L.P.H SWITCH
213 |  | 1 | POND
214 |  | 1 | PIPE
215 |  | 1 | H
216 |  | 1 | ABSOLUTE TOP Elevation (m)
217 |  | 1 | W
218 |  | 1 | PIPE
219 |  | 1 | IP-3078-S
220 |  | 1 | OWS
221 |  | 1 | RTRP
222 |  | 1 | PLANT 76
223 |  | 1 | DRINKING WATER
224 |  | 1 | DIMENSIONS (mm)
225 |  | 1 | S/S
226 |  | 1 | PLANT
227 |  | 1 | DITCH TO GULF
228 | Callout | 1 | Drawing limit line required - Typical comment all drawings
229 |  | 1 | PITCH
230 | Callout | 1 | Drawing limit line required - Typical comment all drawings
231 |  | 1 | East
232 |  | 1 | H
233 |  | 1 | BRA-37035
234 |  | 1 | 77V7740
235 |  | 1 | LEGEND
236 |  | 1 | TI-607S
237 |  | 1 | 2 PP GAS TURBINE AREA
238 |  | 1 | TYPE "D2"
239 |  | 1 | H
240 |  | 1 | CONTROL
241 |  | 1 | FCCU H.L FLARE
242 |  | 1 | W/S
243 |  | 1 | INTERFACE POINT
244 |  | 1 | PIPE
245 |  | 1 | STORAGE
246 |  | 1 | PIPE
247 |  | 1 | 140
248 |  | 1 | TI-XXXS
249 |  | 1 | INTERFACE TABLE FOR UNDERGROUND PRESSURE LINES (3-4-5)
250 |  | 1 | EXTERNAL
251 |  | 1 | EXPLANATION OF TIE-IN POINT NUMBERING
252 |  | 1 | W/S
253 |  | 1 | No. 7
254 |  | 1 | IP-1023-S
255 |  | 1 | CONC. BANK
256 |  | 1 | PLANT No:-32
257 |  | 1 | ~
258 |  | 1 | RECEIVING WORK. PACKAGE
259 |  | 1 | S/S
260 |  | 1 | IP-4030-S
261 |  | 1 | North
262 |  | 1 | SECTION "A-A"
263 |  | 1 | PIPE
264 |  | 1 | TYPE "R1"
265 |  | 1 | ~
266 |  | 1 | PIPE
267 |  | 1 | PLANT
268 |  | 1 | UNLOADING AREA
269 |  | 1 | North
270 |  | 1 | No:-4
271 |  | 1 | S/S
272 |  | 1 | ~
273 |  | 1 | BOTT. ELEV.
274 |  | 1 | WS
275 |  | 1 | I.P. N%%D
276 |  | 1 | INLET FLUMES FROM
277 |  | 1 | IP-6027-S
278 |  | 1 | AC PLANT
279 |  | 1 | CATALYST LOADING
280 |  | 1 | C.S.
281 |  | 1 | PIPE
282 |  | 1 | PITCH
283 |  | 1 | NA28003
284 |  | 1 | H
285 |  | 1 | ROOM
286 |  | 1 | WS
287 |  | 1 | BRA-31237
288 |  | 1 | FCCU
289 |  | 1 | No.2 HYDROGEN PLANT
290 |  | 1 | IP-1022-S
291 |  | 1 | A
292 |  | 1 | BATTERY LIMIT
293 |  | 1 | ROOM
294 |  | 1 | SERVICE
295 |  | 1 | INTERFACE POINT
296 |  | 1 | MICROSCRUBBER
297 |  | 1 | FLARES
298 |  | 1 | SECTION "B-B"
299 |  | 1 | WIDTH (W)
300 |  | 1 | INTERFACE POINT
301 |  | 1 | FIELD WORKSHOP
302 |  | 1 | BRA-189171
303 |  | 1 | IP-7035-S
304 |  | 1 | CABLE TRENCH
305 |  | 1 | AXIS COORDINATES (m)
306 |  | 1 | UA14700
307 |  | 1 | 5 VDU
308 |  | 1 | INTERFACE POINT
309 |  | 1 | IP-4039-S
310 |  | 1 | ~
311 |  | 1 | BRA-72991
312 |  | 1 | PIPE
313 |  | 1 | 1104
314 |  | 1 | DIST "A"
315 |  | 1 | Grade (T.D.)
316 |  | 1 | N
317 |  | 1 | IP-7033-S
318 |  | 1 | IP-7049-S
319 |  | 1 | CABLE TRENCH
320 |  | 1 | PIPES
321 |  | 1 | No.2 SULPHUR PLANT
322 |  | 1 | NORTH
323 |  | 1 | TIE-INS LIST
324 |  | 1 | 1103
325 |  | 1 | BURIED ASBESTOS AREA
326 |  | 1 | PLANT No:-58
327 |  | 1 | ABSOLUTE ELEVATION (m)
328 |  | 1 | HIGH SECURITY FENCE
329 |  | 1 | BATTERY LIMIT
330 |  | 1 | 1500 2400
331 |  | 1 | BOTT. ELEV.
332 |  | 1 | CLEAN WATER
333 |  | 1 | CT'L
334 |  | 1 | PIPES
335 |  | 1 | RERUN
336 |  | 1 | TYPE "R2"
337 |  | 1 | PL'T No:-20
338 |  | 1 | IP-6028-S
339 |  | 1 | REMOTE H.L &
340 |  | 1 | IP-3080-S
341 |  | 1 | COOLING WATER RETURN PIPE
342 |  | 1 | 1 PLATFORMER
343 |  | 1 | FIRE PUMPS
344 |  | 1 | I.P. N%%D
345 |  | 1 | W
346 |  | 1 | IP-7047-S
347 |  | 1 | S/S
348 |  | 1 | A
349 |  | 1 | IP-8003-S
350 |  | 1 | GATE
351 |  | 1 | PITCH
352 |  | 1 | PL'T No:-91
353 |  | 1 | PIPE
354 |  | 1 | IP-8001-S
355 |  | 1 | SHOULDER WIDTH
356 |  | 1 | HEIGHT (H)
357 |  | 1 | OIL CONTAMINATED PIPE
358 |  | 1 | 5 AC
359 |  | 1 | PIPE
360 |  | 1 | S/S
361 |  | 1 | B-4
362 |  | 1 | CAT BAGING AREA
363 |  | 1 | AXIS COORDINATES (m)
364 |  | 1 | PIPE
365 |  | 1 | East
366 |  | 1 | ~
367 |  | 1 | OIL CONTAMINATED PIPE
368 |  | 1 | GRADE ELEV.
369 |  | 1 | A
370 |  | 1 | IP-6062-S
371 |  | 1 | BUILDING
372 |  | 1 | SERVICE
373 |  | 1 | INTERFACE POINT
374 |  | 1 | AMENITY
375 |  | 1 | W
376 |  | 1 | IP-4035-S
377 |  | 1 | PLANT No:-38
378 |  | 1 | 1105
379 |  | 1 | PIPE
380 |  | 1 | BRA-31237
381 |  | 1 | IP-4034-S
382 |  | 1 | PLANT N-84
383 |  | 1 | PIPES
384 |  | 1 | TYP. SECTION
385 |  | 1 | HIGH SECURITY FENCE
386 |  | 1 | TI-303S
387 |  | 1 | TI-622S
388 |  | 1 | ~
389 |  | 1 | TYPE "P2"
390 |  | 1 | PIPES
391 |  | 1 | SHOULDER
392 |  | 1 | Inv. Level (B.D.)
393 |  | 1 | 9000/12000
394 |  | 1 | PIPE
395 |  | 1 | A
396 |  | 1 | No.2 HYDROGEN PLANT
397 |  | 1 | ~
398 |  | 1 | IP-6066-S
399 |  | 1 | RTRP
400 |  | 1 | #6 OIL&WATER
401 |  | 1 | SHOULDER
402 |  | 1 | TYPE "P1"
403 |  | 1 | The present document or drawing is property of TECHNIP ITALY S.p.A. and shall not, under any circumstances, be totally or partially, directly or indirectly, transferred, reproduced, copied, disclosed or used, without its prior written consent, for any purpose and in any way other than that for which it is specifically furnished or outside the extent of the agreed upon right of use.
404 |  | 1 | SSW
405 |  | 1 | H
406 |  | 1 | S/S
407 |  | 1 | CONC. BANK
408 |  | 1 | INTERFACE TABLE FOR ROADS (6)
409 |  | 1 | INTERFACE POINT
410 |  | 1 | INVERT LEVEL (B.D.)
411 |  | 1 | COOLING WATER SUPPLY
412 |  | 1 | STORAGE
413 |  | 1 | IP-3074-S
414 |  | 1 | UA14700
415 |  | 1 | PL'T No:-42/383
416 |  | 1 | CL Elevation (m)
417 |  | 1 | BOTTOM
418 |  | 1 | OILY WATER SEWER
419 |  | 1 | 1102
420 |  | 1 | 1 PLATFORMER
421 |  | 1 | S/S
422 |  | 1 | AXIS COORDINATES (m)
423 |  | 1 | TRANSITION PIECE
424 |  | 1 | ABSOLUTE ELEVATION (m)
425 |  | 1 | = =
426 |  | 1 | PIPE
427 |  | 1 | SERVICE
428 |  | 1 | IP-2022-S
429 |  | 1 | (LSDP)
430 |  | 1 | SERVICE
431 |  | 1 | No.1 SALT WATER MAIN
432 |  | 1 | UNIT
433 |  | 1 | H.P BOILER
434 |  | 1 | AREA
435 |  | 1 | FENCE LIMIT
436 |  | 1 | INTERFACE
437 |  | 1 | FIELD WORKSHOP
438 |  | 1 | CABLE TRENCH
439 | Text Box | 1 | Refer to typical comments on drawing 1
440 |  | 1 | 2
441 |  | 1 | SKIM POND
442 |  | 1 | COOLING WATER RETURN
443 |  | 1 | RECEIVING WORK. PACKAGE
444 |  | 1 | IP-7048-S
445 |  | 1 | TI-620S
446 |  | 1 | ALBA HAUL ROAD
447 |  | 1 | PIPE
448 |  | 1 | TYPE "P3"
449 |  | 1 | C.S.
450 |  | 1 | GRADE
451 |  | 1 | NA28003
452 |  | 1 | OIL CONTAMINATED PIPE
453 |  | 1 | = =
454 |  | 1 | B.O.P. Invert Elevation (m)
455 |  | 1 | (COMSIP)
456 |  | 1 | 4A CDU
457 |  | 1 | ROOM
458 |  | 1 | H
459 |  | 1 | N
460 |  | 1 | No.1 HYDROCRACKING UNIT
461 |  | 1 | PIPE
462 |  | 1 | IP-6025-S
463 |  | 1 | No:-2
464 |  | 1 | FIRE WATER
465 |  | 1 | SERVICE
466 |  | 1 | GRADE ELEV.
467 |  | 1 | BOTT. ELEV.
468 |  | 1 | 9000/12000
469 |  | 1 | ~
470 |  | 1 | 475
471 |  | 1 | TYPE "D4"
472 |  | 1 | CIVIL WORKS
473 |  | 1 | GRADE (T.D.)
474 |  | 1 | N
475 |  | 1 | E=2700m
476 |  | 1 | W
477 |  | 1 | S/S
478 |  | 1 | PIPES
479 |  | 1 | CENTRALISED
480 |  | 1 | STP PLANT No:-387 BRB-219185
481 |  | 1 | IP-XXXX-S
482 |  | 1 | TYPICAL FOR ROADS WITH SHOULDER
483 |  | 1 | TYPE
484 |  | 1 | CONTROL
485 |  | 1 | PIPES
486 |  | 1 | S/S
487 |  | 1 | IP-7050-S
488 |  | 1 | MATERIAL
489 |  | 1 | PIPE
490 |  | 1 | UNDERGROUND PRESSURE LINES
491 |  | 1 | S/S
492 |  | 1 | 1,2,3, & 4 DESAL PLANTS
493 |  | 1 | ~
494 |  | 1 | INTERFACE TABLE FOR UNDERGROUND ELECTRICAL/INSTRUMENT CABLE TRENCHES (7)
495 |  | 1 | AMENITY
496 |  | 1 | STH PROCESS
497 |  | 1 | PLANT No:-16
498 |  | 1 | IP-4041-S
499 |  | 1 | 6
500 |  | 1 | PIT
501 |  | 1 | BRA-37035
502 |  | 1 | 8
503 |  | 1 | PIPE
504 |  | 1 | ORIGINATING WORK. PACKAGE
505 |  | 1 | SECTION "A-A"
506 |  | 1 | GRADE (T.D.)
507 |  | 1 | S/S
508 |  | 1 | GRADE (T.D.)
509 |  | 1 | A
510 |  | 1 | PLANT 77
511 |  | 1 | 1106
512 |  | 1 | IP-4040-S
513 |  | 1 | INTERFACE POINT
514 |  | 1 | INVERT LEVEL (B.D.)
515 |  | 1 | IP-7064-S
516 |  | 1 | BRA-43696
517 |  | 1 | RECEIVING WORK. PACKAGE
518 | Microsoft Word - Code 3 With Comments | 1
519 |  | 1 | North
520 |  | 1 | SEPARATOR
521 |  | 1 | PETROL
522 |  | 1 | ELECTRICAL CABLES, INSTRUMENT CABLES
523 |  | 1 | No:-1
524 |  | 1 | PLANT No:-58
525 |  | 1 | WS
526 |  | 1 | TI-302S
527 |  | 1 | STH PROCESS
528 |  | 1 | CWR
529 |  | 1 | RECEIVING WORK. PACKAGE
530 |  | 1 | OIL CONTAMINATED PIPE
531 |  | 1 | 2 PP TK277 &
532 |  | 1 | WORK PACKAGE LIMIT
533 |  | 1 | TYPE
534 |  | 1 | & COMP AREA
535 |  | 1 | IP-4031-S
536 |  | 1 | ~
537 |  | 1 | IP-3077-S
538 |  | 1 | HYDROGEN SULPHIDE (OILY WATER FROM OWS SUMP PUMP TO NO.3 API SEPARATOR)
539 |  | 1 | IP-2023-S
540 |  | 1 | IP-4032-S
541 |  | 1 | NORTH
542 |  | 1 | CONT'L RM
543 |  | 1 | 3,4 & 5
544 |  | 1 | 5
545 |  | 1 | PL'T No:-22/24
546 |  | 1 | PLANT 78
547 |  | 1 | IP-7044-S
548 |  | 1 | D-8403
549 |  | 1 | INTERFACE POINT
550 |  | 1 | IP-1021-S
551 |  | 1 | = =
552 |  | 1 | = =
553 |  | 1 | LSDP
554 |  | 1 | CHLORINATION
555 |  | 1 | H.L.P.H SWITCH
556 |  | 1 | CENTRALISED
557 |  | 1 | ALBA HAUL ROAD
558 |  | 1 | PROGRESSIVE
559 |  | 1 | BOTT. ELEV.
560 |  | 1 | 2
561 |  | 1 | GRADE (T.D.)
562 |  | 1 | 2 PP
563 |  | 1 | POND
564 |  | 1 | S/S
565 |  | 1 | IP-7041-S
566 |  | 1 | PIPE
567 |  | 1 | PLATFORMER
568 |  | 1 | TYPICAL FOR ROADS WITHOUT SHOULDER
569 |  | 1 | No. 7
570 |  | 1 | S/S
571 |  | 1 | C.S.
572 |  | 1 | HIGH LIFT
573 |  | 1 | NUMBER
574 |  | 1 | S/S
575 |  | 1 | 2
576 |  | 1 | CONTRACTORS
577 |  | 1 | 2
578 |  | 1 | DW
579 |  | 1 | PIPE
580 |  | 1 | TYPE
581 |  | 1 | 1301
582 |  | 1 | & STH GAS STATIONS
583 |  | 1 | HIGH SECURITY FENCE
584 |  | 1 | TIE-IN POINT
585 |  | 1 | ORIGINATING WORK. PACKAGE
586 |  | 1 | AREA OFFICE
587 |  | 1 | TYPE "C4"
588 |  | 1 | No:-50
589 |  | 1 | PLANT 77
590 |  | 1 | PLANT No:-38
591 |  | 1 | B
592 |  | 1 | WATER POND
593 |  | 1 | PROGRESSIVE NUMBER
594 |  | 1 | CONTROL
595 |  | 1 | IP-8002-S
596 |  | 1 | IP-4037-S
597 |  | 1 | IP-3072-S
598 |  | 1 | H
599 |  | 1 | INTERFACE POINT
600 |  | 1 | No.2 SALT WATER MAIN TO LSDP
601 |  | 1 | PIPEWAY
602 |  | 1 | COOLING WATER RETURN PIPE
603 |  | 1 | FL
604 |  | 1 | PUMP HSE
605 |  | 1 | OUTLET DITCH TO GULF
606 |  | 1 | SERVICE
607 |  | 1 | IP-2015-S
608 |  | 1 | PL'T No:-55/93
609 |  | 1 | S/S
610 |  | 1 | PIPE
611 |  | 1 | PIPE
612 |  | 1 | SERVICE
613 |  | 1 | TI-618S
614 |  | 1 | IP-3071-S
615 |  | 1 | IP-2021-S
616 |  | 1 | RECEIVING WORK. PACKAGE
617 |  | 1 | GRADE ELEV.
618 |  | 1 | PL'T No:-6/7
619 |  | 1 | CONTAMINATED STORMWATER SEWER
620 |  | 1 | No:-6
621 |  | 1 | PREVALING
622 |  | 1 | 1500 2400
623 |  | 1 | PIPEWAY
624 |  | 1 | ~
625 |  | 1 | TI-617S
626 |  | 1 | WIDTH
627 |  | 1 | W/S
628 |  | 1 | PITCH
629 |  | 1 | STH P'H
630 |  | 1 | PIPEWAY
631 |  | 1 | BRA-39009
632 |  | 1 | 6000 7200
633 |  | 1 | BACKFILLED NEW PIPELINE UNDER CONSTRUCTION
634 |  | 1 | PIT
635 |  | 1 | ORIGINATING WORK. PACKAGE
636 |  | 1 | CATALYST LOADING
637 |  | 1 | IP-3081-S
638 |  | 1 | POND
639 |  | 1 | CWS
640 |  | 1 | ~
641 |  | 1 | IP-3075-S
642 |  | 1 | W
643 |  | 1 | HIGH SECURITY FENCE
644 |  | 1 | INTERFACE POINT
645 |  | 1 | CSS
646 |  | 1 | POINT
647 |  | 1 | P/H
648 |  | 1 | TI-608S
649 |  | 1 | TYPE "C2"
650 |  | 1 | HIGH LIFT
651 |  | 1 | IP-6023-S
652 |  | 1 | 5 DESAL
653 |  | 1 | S/S
654 |  | 1 | FIRE WATER
655 |  | 1 | 1
656 | Callout | 1 | What are these lines? UG inst? Show on legend
657 |  | 1 | PROGRESSIVE
658 |  | 1 | OILY WATER SEWER PIPE
659 |  | 1 | IP-4036-S
660 |  | 1 | HIGH SECURITY FENCE
661 |  | 1 | I.P. N%%D
662 |  | 1 | IP-7031-S
663 |  | 1 | 3
664 |  | 1 | UNDERGROUND GRAVITY LINES
665 |  | 1 | NUMBER
666 |  | 1 | IP-1009-S
667 |  | 1 | 30°
668 |  | 1 | 476
669 |  | 1 | 81V8101
670 |  | 1 | PIPE
671 |  | 1 | D-8402
672 |  | 1 | AC PLANT
673 |  | 1 | TI-609S
674 |  | 1 | BRB-44540
675 |  | 1 | S/S
676 |  | 1 | IP-7040-S
677 |  | 1 | INTERFACE POINT
678 |  | 1 | ZONE
679 |  | 1 | INTERFACE POINT
680 |  | 1 | SHOULDER
681 |  | 1 | PIPE
682 |  | 1 | IP-7046-S
683 |  | 1 | PUMP HSE
684 |  | 1 | R=12/7.50
685 |  | 1 | MTCE
686 |  | 1 | LSDP
687 |  | 1 | DIMENSIONS (mm)
688 |  | 1 | ROOM
689 |  | 1 | 278
690 |  | 1 | GCU & SLOP
691 |  | 1 | PIPE
692 |  | 1 | FCCU H.L
693 |  | 1 | STATION
694 |  | 1 | IP-6022-S
695 |  | 1 | W/S
696 |  | 1 | East
697 |  | 1 | PIPE
698 |  | 1 | 1500 2400
699 |  | 1 | WS
700 |  | 1 | WIND
701 |  | 1 | AXIS COORDINATES (m)
702 |  | 1 | 77V7740
703 |  | 1 | PITCH
704 |  | 1 | AXIS COORDINATES (m)
705 |  | 1 | RTRP
706 |  | 1 | LSDP
707 |  | 1 | TRUE