## 000-E-SOW-70006-001-RAP-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Call-out | 7 | A.Jabbar Mahmood | Performance guarantees shall be in the list as well
2 | Call-out | 4 | Ahmed Marhoon | Supplier to comply with all the applicable BMPSs and provide, as a minimum, all the documents, hardware, software and services according to the relevant sections of the BMPSs in the agreed standard formats of the project. List to reflect all the required deliverables in accordance to BMPS J series.
3 | Text Box | 6 | Ebrahim | Motor asset sheets 100 days after PO
4 | Call-out | 1 | Raj | The sizing of the Cooling Tower shall be finalized after BMP Utility Summary finalization to cater for correct CW flowrates.