## 000-J-TSP-50002-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | MAK | Delete
2 | Call-out | 5 | Bachir M | while
3 | Callout | 5 | Zosimo | specify rather than refer to NAMUR NE43
4 | Callout | 6 | Zosimo | state the preferred square root extraction location, DCS or transmitter
5 | Call-out | 6 | Bachir M | while
6 | Call-out | 6 | Ali Abbas | Refer to BMPS-J2 sec, 10.7 for requirement of square root extraction in DCS. TTSJV need to advise any deviation if any from BMPS Spec.
7 | Call-out | 6 | Ali Abbas | and BMPS-J2, Sec 7.3.
8 | Text Box | 6 | Omran A | Update mechanism to be discussed during detail design
9 | Cloud+ | 6 | Basheer.isa | To be as per BMPS-A1, Sec 13
10 | Call-out | 7 | Ali Abbas | General comment: Need to verify with DCS vendor General FDS and compare with vendor standard blocks and formulas
11 | Callout | 8 | Zosimo | cross-check
12 | Cloud+ | 9 | Basheer.isa | ??
13 | Text Box | 9 | Ahmed Habib | There is no graph shown to illustrate transmitters behavior
14 | Text Box | 9 | Omran A | measured value
15 | Callout | 10 | Zosimo | confusing whether it is dash or negative hence better show as "-ve"
16 | Callout | 11 | Zosimo | can't easily identify, provide identification to paragraph
17 | Callout | 17 | Zosimo | limited to mass flow only, what about volumetric flow?
18 | Cloud+ | 18 | Basheer.isa | Kilogram = KG , pound=Ib
19 | Cloud+ | 18 | Basheer.isa | To be as per BMPS-A1, Sec 13
20 | Cloud+ | 18 | Basheer.isa | Fahrenheit
21 | Call-out | 20 | Bachir M | affected
22 | Call-out | 20 | Bachir M | According