## 000-R-GAD-60006-002-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | - Above Ground Holding Tank SEWER TANK (2.000 LT)
2 |  | 1 | AutoCAD SHX Text | - AIR CONDITIONED (SPLIT TYPE UNIT 12000 BTU)
3 |  | 1 | AutoCAD SHX Text | - ROOF WATER TANK 2.000 LITERS
4 |  | 1 | AutoCAD SHX Text | 3 THE TANK INLET AND OUTLET VALVES SHALL BE
5 |  | 1 | AutoCAD SHX Text | PEOPLE AND PERSONNEL
6 |  | 1 | AutoCAD SHX Text | POSITIONED AT 1mt FROM GROUND.
7 |  | 1 | AutoCAD SHX Text | - POWER GENERATOR 6.7 kW
8 |  | 1 | AutoCAD SHX Text | 076551C-000R-DW-8210-003
9 |  | 1 | AutoCAD SHX Text | 1 ALL DIMENSIONS ARE IN MILLIMETERS.
10 |  | 1 | AutoCAD SHX Text | 2
11 |  | 1 | AutoCAD SHX Text | 2
12 |  | 1 | AutoCAD SHX Text | 2 SATELLITE SHALL BE AUTONOMOUS WITH:
13 |  | 1 | AutoCAD SHX Text | 210
14 |  | 1 | AutoCAD SHX Text | 27-04-2018
15 |  | 1 | AutoCAD SHX Text | 90
16 |  | 1 | AutoCAD SHX Text | A
17 |  | 1 | AutoCAD SHX Text | A
18 | Callout | 1 | Robert.Kawitzki | ac outlet required
19 | Callout | 1 | Robert.Kawitzki | ac outlets must be spaced to optimize airflow - typ comment
20 |  | 1 | AutoCAD SHX Text | DIESEL GENERATOR
21 |  | 1 | AutoCAD SHX Text | EL+ 0.400m BOTTOM OF CONTAINER
22 |  | 1 | AutoCAD SHX Text | EL+ 2.820m TOP OF CONTAINER
23 |  | 1 | AutoCAD SHX Text | F.DE CARLI
24 |  | 1 | AutoCAD SHX Text | F.DECARLI/
25 |  | 1 | AutoCAD SHX Text | ISSUE FOR APPROVAL
26 |  | 1 | AutoCAD SHX Text | M. LUCARELLI
27 |  | 1 | AutoCAD SHX Text | MAIN ENTRANCE
28 |  | 1 | AutoCAD SHX Text | MEETING ROOM
29 |  | 1 | AutoCAD SHX Text | POWER GENERATOR
30 |  | 1 | AutoCAD SHX Text | R.PETROSSIANS
31 |  | 1 | AutoCAD SHX Text | SATELLITE OFFICE FOR 21 PEOPLE : 115 Sqm
32 |  | 1 | AutoCAD SHX Text | SEE NOTE 3
33 | Callout | 1 | Robert.Kawitzki | see typ comment previous drawing
34 |  | 1 | AutoCAD SHX Text | SEPTIC TANK
35 |  | 1 | AutoCAD SHX Text | SEWER TANK
36 |  | 1 | AutoCAD SHX Text | SINGLE ROOM
37 |  | 1 | AutoCAD SHX Text | TOILET
38 |  | 1 | AutoCAD SHX Text | VIEW "A"
39 |  | 1 | AutoCAD SHX Text | VIEW "A"
40 |  | 1 | AutoCAD SHX Text | WATER TANK
41 | Callout | 1 | Robert.Kawitzki | what is this? ac outlet? show as legend