## 000-R-GAD-60008-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | - Above Ground Holding Tank SEWER TANK (0,500 LT)
2 |  | 1 | AutoCAD SHX Text | - AIR CONDITIONED (SPLIT TYPE UNIT 9.000 BTU)
3 |  | 1 | AutoCAD SHX Text | - ROOF WATER TANK 0,500 LITERS
4 |  | 1 | AutoCAD SHX Text | 3 THE TANK INLET AND OUTLET VALVES SHALL BE
5 |  | 1 | AutoCAD SHX Text | POSITIONED AT 1mt FROM GROUND.
6 |  | 1 | AutoCAD SHX Text | - POWER GENERATOR 5 kW
7 |  | 1 | AutoCAD SHX Text | 076551C-000R-DW-8210-005
8 |  | 1 | AutoCAD SHX Text | 1
9 |  | 1 | AutoCAD SHX Text | 1
10 |  | 1 | AutoCAD SHX Text | 1 ALL DIMENSIONS ARE IN MILLIMETERS.
11 |  | 1 | AutoCAD SHX Text | 2 SATELLITE SHALL BE AUTONOMOUS WITH:
12 |  | 1 | AutoCAD SHX Text | 27-04-2018
13 |  | 1 | AutoCAD SHX Text | A
14 |  | 1 | AutoCAD SHX Text | A
15 |  | 1 | AutoCAD SHX Text | A/C
16 |  | 1 | AutoCAD SHX Text | CHA 18
17 |  | 1 | AutoCAD SHX Text | CHA14
18 |  | 1 | AutoCAD SHX Text | CHA14
19 |  | 1 | AutoCAD SHX Text | CHA14
20 |  | 1 | AutoCAD SHX Text | CHA14
21 |  | 1 | AutoCAD SHX Text | CU 16
22 |  | 1 | AutoCAD SHX Text | DE 13
23 |  | 1 | AutoCAD SHX Text | EL+ 2990mm TOP OF CONTAINER
24 |  | 1 | AutoCAD SHX Text | EL+ 400mm BOTTOM OF CONTAINER
25 |  | 1 | AutoCAD SHX Text | F.DE CARLI
26 |  | 1 | AutoCAD SHX Text | F.DECARLI/
27 |  | 1 | AutoCAD SHX Text | GS 12
28 |  | 1 | AutoCAD SHX Text | GUARD HOUSE FOR 1 PEOPLE : 14.4 Sqm
29 |  | 1 | AutoCAD SHX Text | GUARD OFFICE
30 |  | 1 | AutoCAD SHX Text | ISSUE FOR APPROVAL
31 |  | 1 | AutoCAD SHX Text | M. LUCARELLI
32 |  | 1 | AutoCAD SHX Text | PB 10
33 |  | 1 | AutoCAD SHX Text | PB 10
34 |  | 1 | AutoCAD SHX Text | POWER GENERATOR
35 |  | 1 | AutoCAD SHX Text | R.PETROSSIANS
36 |  | 1 | AutoCAD SHX Text | SEE NOTE 3
37 |  | 1 | AutoCAD SHX Text | SEWER TANK
38 |  | 1 | AutoCAD SHX Text | SEWER TANK
39 | Call-out | 1 | Adel | This is a typical drawing without location plan or details. The final drawing shall be submitted for owner approval. This comment is applicable to all sheets.
40 |  | 1 | AutoCAD SHX Text | WA 10
41 |  | 1 | AutoCAD SHX Text | WATER TANK
42 |  | 1 | AutoCAD SHX Text | WC 1
43 |  | 1 | AutoCAD SHX Text | WCB 10