## 000-R-GAD-60009-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | - Above Ground Holding Tank SEWER TANK (1.000 LT)
2 |  | 1 | AutoCAD SHX Text | - AIR CONDITIONED (SPLIT TYPE UNIT 9000 BTU)
3 |  | 1 | AutoCAD SHX Text | - ROOF WATER TANK 1.000 LITERS
4 |  | 1 | AutoCAD SHX Text | 3 THE TANK INLET AND OUTLET VALVES SHALL BE
5 |  | 1 | AutoCAD SHX Text | PEOPLE AND PERSONNEL
6 |  | 1 | AutoCAD SHX Text | POSITIONED AT 1mt FROM GROUND.
7 |  | 1 | AutoCAD SHX Text | - POWER GENERATOR 13.2 kW
8 |  | 1 | AutoCAD SHX Text | 076551C-000R-DW-8210-006
9 |  | 1 | AutoCAD SHX Text | 1
10 |  | 1 | AutoCAD SHX Text | 1
11 |  | 1 | AutoCAD SHX Text | 1 ALL DIMENSIONS ARE IN MILLIMETERS.
12 |  | 1 | AutoCAD SHX Text | 2 SATELLITE SHALL BE AUTONOMOUS WITH:
13 |  | 1 | AutoCAD SHX Text | 210
14 |  | 1 | AutoCAD SHX Text | 210
15 |  | 1 | AutoCAD SHX Text | 24-04-2018
16 |  | 1 | AutoCAD SHX Text | 70
17 |  | 1 | AutoCAD SHX Text | 90
18 |  | 1 | AutoCAD SHX Text | A
19 |  | 1 | AutoCAD SHX Text | A
20 |  | 1 | AutoCAD SHX Text | A/C
21 |  | 1 | AutoCAD SHX Text | A/C
22 |  | 1 | AutoCAD SHX Text | A/C
23 |  | 1 | AutoCAD SHX Text | EL+ 0.400m BOTTOM OF CONTAINER
24 |  | 1 | AutoCAD SHX Text | EL+ 2.820m TOP OF CONTAINER
25 |  | 1 | AutoCAD SHX Text | EMERGENCY EXIT & ENTRANCE RAMP FOR STRETCHER
26 |  | 1 | AutoCAD SHX Text | EXAMINATION ROOM
27 |  | 1 | AutoCAD SHX Text | F.DE CARLI
28 |  | 1 | AutoCAD SHX Text | F.DECARLI/
29 |  | 1 | AutoCAD SHX Text | FIRST AID FOR 1 PEOPLE: 29 Sqm
30 |  | 1 | AutoCAD SHX Text | ISSUE FOR APPROVAL
31 |  | 1 | AutoCAD SHX Text | M. LUCARELLI
32 |  | 1 | AutoCAD SHX Text | MAIN ENTRANCE
33 |  | 1 | AutoCAD SHX Text | POWER GENERATOR
34 |  | 1 | AutoCAD SHX Text | R.PETROSSIANS
35 |  | 1 | AutoCAD SHX Text | SEE NOTE 3
36 |  | 1 | AutoCAD SHX Text | SEWER TANK
37 |  | 1 | AutoCAD SHX Text | SEWER TANK
38 | Call-out | 1 | Adel | This is a typical drawing without location plan or details. The final drawing shall be submitted for owner approval. This comment is applicable to all sheets.
39 |  | 1 | AutoCAD SHX Text | TOILET
40 |  | 1 | AutoCAD SHX Text | VIEW "A-A"
41 |  | 1 | AutoCAD SHX Text | VIEW "A-A"
42 |  | 1 | AutoCAD SHX Text | WAITING AREA
43 |  | 1 | AutoCAD SHX Text | WATER TANK