## 000-R-GAD-60010-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | PEOPLE AND PERSONNEL
2 |  | 1 | AutoCAD SHX Text | 076551C-000R-DW-8210-007
3 |  | 1 | AutoCAD SHX Text | 1 ALL DIMENSIONS ARE IN MILLIMETERS.
4 |  | 1 | AutoCAD SHX Text | 153.73
5 |  | 1 | AutoCAD SHX Text | 2 MEDICAL CENTER SHALL BE CENTRALIZED FOR:
6 |  | 1 | AutoCAD SHX Text | 210
7 |  | 1 | AutoCAD SHX Text | 27-04-2018
8 |  | 1 | AutoCAD SHX Text | 61
9 |  | 1 | AutoCAD SHX Text | 70
10 |  | 1 | AutoCAD SHX Text | 92.7
11 |  | 1 | AutoCAD SHX Text | A
12 |  | 1 | AutoCAD SHX Text | A
13 |  | 1 | AutoCAD SHX Text | AND RECEPTION
14 |  | 1 | AutoCAD SHX Text | CONSULTATION ROOM
15 |  | 1 | AutoCAD SHX Text | DRESSING ROOM
16 |  | 1 | AutoCAD SHX Text | DRESSING ROOM
17 |  | 1 | AutoCAD SHX Text | EL+ 0.400m BOTTOM OF CONTAINER
18 |  | 1 | AutoCAD SHX Text | EL+ 0.400m BOTTOM OF CONTAINER
19 |  | 1 | AutoCAD SHX Text | EL+ 2.820m TOP OF CONTAINER
20 |  | 1 | AutoCAD SHX Text | EL+ 2.820m TOP OF CONTAINER
21 |  | 1 | AutoCAD SHX Text | EMERGENCY EXIT & ENTRANCE RAMP FOR STRETCHER
22 |  | 1 | AutoCAD SHX Text | F.DE CARLI
23 |  | 1 | AutoCAD SHX Text | F.DECARLI/
24 |  | 1 | AutoCAD SHX Text | ISSUE FOR APPROVAL
25 |  | 1 | AutoCAD SHX Text | LEGEND:
26 |  | 1 | AutoCAD SHX Text | m
27 |  | 1 | AutoCAD SHX Text | M. LUCARELLI
28 |  | 1 | AutoCAD SHX Text | MAIN ENTRANCE
29 |  | 1 | AutoCAD SHX Text | MEDICAL STORE
30 |  | 1 | AutoCAD SHX Text | MEN
31 |  | 1 | AutoCAD SHX Text | n°
32 |  | 1 | AutoCAD SHX Text | PHOTOVOLTAIC SYSTEM & DIESEL GENERATOR
33 |  | 1 | AutoCAD SHX Text | R.PETROSSIANS
34 |  | 1 | AutoCAD SHX Text | REST/TREATMENT ROOM
35 |  | 1 | AutoCAD SHX Text | SHELTER
36 |  | 1 | AutoCAD SHX Text | SHELTERED AREA
37 |  | 1 | AutoCAD SHX Text | SIMPLE MEDICAL FACILITY
38 |  | 1 | AutoCAD SHX Text | SIMPLE MEDICAL FACILITY (SMF)
39 |  | 1 | AutoCAD SHX Text | SLIDING DOOR
40 |  | 1 | AutoCAD SHX Text | SLIDING DOOR
41 | Call-out | 1 | Adel | This is a typical drawing without location plan or details. The final drawing shall be submitted for owner approval. This comment is applicable to all sheets.
42 |  | 1 | AutoCAD SHX Text | TOILET
43 |  | 1 | AutoCAD SHX Text | TOILET
44 |  | 1 | AutoCAD SHX Text | VIEW "A"
45 |  | 1 | AutoCAD SHX Text | VIEW "B"
46 |  | 1 | AutoCAD SHX Text | VIEW "B"
47 |  | 1 | AutoCAD SHX Text | WAITING AREA
48 |  | 1 | AutoCAD SHX Text | WATER TANK; SEWER SEPTIC TANK; WWT PACKAGE;
49 |  | 1 | AutoCAD SHX Text | WOMEN