## 000-R-GAD-60014-002-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 |  | 1 | AutoCAD SHX Text | 076551C-000R-DW-8210-011
2 |  | 1 | AutoCAD SHX Text | 1 PEOPLE
3 |  | 1 | AutoCAD SHX Text | 1. ALL DIMENSIONS ARE IN MILLIMETERS UNLESS OTHERWISE NOTED.
4 |  | 1 | AutoCAD SHX Text | 10
5 |  | 1 | AutoCAD SHX Text | 11
6 |  | 1 | AutoCAD SHX Text | 11
7 |  | 1 | AutoCAD SHX Text | 114
8 |  | 1 | AutoCAD SHX Text | 15
9 |  | 1 | AutoCAD SHX Text | 15
10 |  | 1 | AutoCAD SHX Text | 15 sqm
11 |  | 1 | AutoCAD SHX Text | 15 sqm
12 |  | 1 | AutoCAD SHX Text | 2 PEOPLE
13 |  | 1 | AutoCAD SHX Text | 2. THE EXTERNAL MODUL STAIRS ARE NOT INCLUDED IN THE OVERALL SQ.M.. THE EXTERNAL MODUL STAIRS ARE NOT INCLUDED IN THE OVERALL SQ.M.THE EXTERNAL MODUL STAIRS ARE NOT INCLUDED IN THE OVERALL SQ.M.
14 |  | 1 | AutoCAD SHX Text | 22 sqm
15 |  | 1 | AutoCAD SHX Text | 24 sqm
16 |  | 1 | AutoCAD SHX Text | 25 sqm
17 |  | 1 | AutoCAD SHX Text | 27-04-2018
18 | Text Box | 1 | Antony.Bentley | 2no. indicated on plan
19 |  | 1 | AutoCAD SHX Text | 3
20 |  | 1 | AutoCAD SHX Text | 36 sqm
21 |  | 1 | AutoCAD SHX Text | 39 sqm
22 |  | 1 | AutoCAD SHX Text | 40 sqm
23 |  | 1 | AutoCAD SHX Text | 50 sqm
24 |  | 1 | AutoCAD SHX Text | 56
25 |  | 1 | AutoCAD SHX Text | 6
26 |  | 1 | AutoCAD SHX Text | 82 sqm
27 |  | 1 | AutoCAD SHX Text | 82 sqm
28 |  | 1 | AutoCAD SHX Text | 82 sqm
29 |  | 1 | AutoCAD SHX Text | 9
30 |  | 1 | AutoCAD SHX Text | A
31 |  | 1 | AutoCAD SHX Text | A
32 | Text Box | 1 | Antony.Bentley | A training room is not a specified requirement, Conference Room needs to be for a min. 50no. people - suggest TR is removed, DC Room moved to RHS, CR is increased in size with a partition door centrally
33 |  | 1 | AutoCAD SHX Text | COPY AREA
34 |  | 1 | AutoCAD SHX Text | DIMENSION
35 |  | 1 | AutoCAD SHX Text | DISTRIBUTION
36 |  | 1 | AutoCAD SHX Text | DOCUMENT CONTROL
37 |  | 1 | AutoCAD SHX Text | DOUBLE ROOM
38 |  | 1 | AutoCAD SHX Text | EMERGENCY DOOR MIN. 1.8mt LENGHT - 8 UNIT
39 |  | 1 | AutoCAD SHX Text | EMERGENCY EXIT
40 |  | 1 | AutoCAD SHX Text | EXECUTIVE ROOM
41 |  | 1 | AutoCAD SHX Text | EXTERNAL WINDOW, PROVIDED WITH MOSQUITO NET - 79 UNIT
42 |  | 1 | AutoCAD SHX Text | F.DE CARLI
43 |  | 1 | AutoCAD SHX Text | F.DECARLI/
44 | Text Box | 1 | Antony.Bentley | General : Owner Office Facilities to be in accordance with Vol.2 Annex 5 Cl. 4
45 | Callout | 1 | Bernard.Grace | Ideally locate on ground floor within close proximity of doorway for delivery of material
46 |  | 1 | AutoCAD SHX Text | INTERNAL DOOR - 61 UNIT
47 |  | 1 | AutoCAD SHX Text | INTERNAL WALL MIN. ELEVATION 2 mt.
48 |  | 1 | AutoCAD SHX Text | INTERNAL WINDOW - 34 UNIT
49 |  | 1 | AutoCAD SHX Text | ISSUE FOR APPROVAL
50 | Text Box | 1 | Antony.Bentley | Kitchen areas to be provided on the 1st floor
51 |  | 1 | AutoCAD SHX Text | M. LUCARELLI
52 |  | 1 | AutoCAD SHX Text | MEETING ROOM (12 PEOPLE)
53 |  | 1 | AutoCAD SHX Text | MEETING ROOM (20 PEOPLE)
54 |  | 1 | AutoCAD SHX Text | MEETING ROOM (41 PEOPLE)
55 |  | 1 | AutoCAD SHX Text | MEETING ROOM (8 PEOPLE)
56 |  | 1 | AutoCAD SHX Text | MESS HALL
57 |  | 1 | AutoCAD SHX Text | NOTES
58 |  | 1 | AutoCAD SHX Text | OPEN SPACE
59 |  | 1 | AutoCAD SHX Text | OPEN SPACE 16 PEOPLE
60 |  | 1 | AutoCAD SHX Text | OPEN SPACE 28 PEOPLE
61 |  | 1 | AutoCAD SHX Text | OPEN SPACE 28 PEOPLE
62 |  | 1 | AutoCAD SHX Text | PANEL
63 |  | 1 | AutoCAD SHX Text | PARTITITION FOR OPEN SPACE MAX EL. 1.2mt. FOR A TOTAL OF 167mt
64 |  | 1 | AutoCAD SHX Text | PEOPLE No.
65 |  | 1 | AutoCAD SHX Text | POWER
66 |  | 1 | AutoCAD SHX Text | PRAYER ROOM
67 |  | 1 | AutoCAD SHX Text | PRAYER ROOM
68 | Text Box | 1 | Antony.Bentley | Provide desk space for 6 people in DC Room
69 |  | 1 | AutoCAD SHX Text | R.PETROSSIANS
70 |  | 1 | AutoCAD SHX Text | ROOM NO.
71 |  | 1 | AutoCAD SHX Text | ROOM TYPOLOGY
72 |  | 1 | AutoCAD SHX Text | SECRETARY
73 |  | 1 | AutoCAD SHX Text | SENIOR MANAGER ROOM
74 |  | 1 | AutoCAD SHX Text | SINGLE ROOM
75 |  | 1 | AutoCAD SHX Text | STORE
76 |  | 1 | AutoCAD SHX Text | TOILET LADY
77 |  | 1 | AutoCAD SHX Text | TOILET MEN
78 |  | 1 | AutoCAD SHX Text | TOILET FOR LADIES
79 |  | 1 | AutoCAD SHX Text | TOILET FOR MEN
80 |  | 1 | AutoCAD SHX Text | TOTAL PEOPLE
81 |  | 1 | AutoCAD SHX Text | TRAINING ROOM
82 |  | 1 | AutoCAD SHX Text | TRAINING ROOM (48 PEOPLE)
83 | Callout | 1 | Bernard.Grace | Where are the Janitors rooms?