## 000-S-MRQ-60006-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 3 | Abdul Majeed | INSTRUMENT INSTALLATION AND TESTING
2 | Text Box | 3 | Abdul Majeed | BMPS-J31
3 | Text Box | 27 | Ahmed Habib | Contractor, Purchaser and Owner/Contractor defention shall be reflected
4 | Text Box | 28 | AliRedha Malalla | routine and non-routine
5 | Text Box | 30 | Omran A | & IFAT
6 | Text Box | 30 | Ahmed Habib | Automation Engineer shall be added
7 | Text Box | 30 | Ahmed Habib | Owner
8 | Text Box | 30 | Ahmed Habib | CHAZOP shall be added
9 | Text Box | 34 | Ahmed Habib | Refer to BMPS J9 and J14
10 | Text Box | 38 | Omran A | & System architecture
11 | Text Box | 40 | Omran A | (loaded with all perpetual license)