## 000-S-PQP-50001-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | Page 1 | 300059 | General Comment All concrete pouring needs to follow the same standards as footing for structure. Contractor should consider same test on cement regardless of location in plant. Perimeter fences are added security for the plant. Add test reports to this procedure: QC-11/CW-51 and CW-53 as a minimum for fence footings
2 | Strikethrough | Page 3 | Joon Cho | A
3 | Strikethrough | Page 3 | Joon Cho | CONSTR.
4 | Callout | Page 3 | Joon Cho | fill in
5 | Callout | Page 3 | Chandrahasan D | Vertical and horizontal alignment
6 | Callout | Page 3 | Chandrahasan D | House keeping and site clearing after construction
7 | Pen | Page 3 | steven.coyne | s
8 | Callout | Page 4 | Chandrahasan D | vertical alignment & Horizontal alignment
9 | Callout | Page 4 | Chandrahasan D | <Spell Check> Miscellaneous
10 | Callout | Page 4 | Chandrahasan D | Suggested to include C.14 site clearing
11 | Typewritten Text | Page 3 | steven.coyne | H
12 | Typewritten Text | Page 3 | steven.coyne | A
13 | Typewritten Text | Page 3 | steven.coyne | R
14 | Typewritten Text | Page 3 | steven.coyne | TYPO
15 | Text Box | Page 1 | MAK | General Comment: For all documents, use the latest document template that is part of the Homogenisation Procedure.
16 | Cloud+ | Page 1 | MAK | Move this from the cover page.