## 000-S-STD-50006-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | MAK | Move to 2nd line of the title
2 | Text Box | 1 | Antony.Bentley | General comment : Detail may not be to scale but is drawn such that vertical scale & horizontal scale are different - make the same.
3 | Cloud+ | 1 | MAK | NTS
4 | Text Box | 1 | Salman Almajed | BMPS-Q-50701
5 | Text Box | 1 | MAK | General Comment: All the texts in drawings shall be searchable and in UPPERCASE. Text fonts and styles shall be as per BMPS-A8.
6 | Cloud+ | 1 | MAK | Delete
7 | Text Box | 1 | Antony.Bentley | SPECIFICATION FOR COVER REQUIRED
8 | Text Box | 1 | Salman Almajed | Add description for the drawings
9 | Text Box | 1 | Antony.Bentley | Size relates to what?
10 | Callout | 1 | Erwin.Lugue | Hydrant detail shall be as per BPMS-SD-S-10187 & refer also to fire monitor standard BMPS-SD-S-1007
11 | Cloud+ | 1 | MAK | Text style and height should not be changed. Every border has predefined styles and heights and shall be used as outline in BMPS-A8.
12 | Cloud+ | 1 | MAK | 000 - COMMON
13 | Text Box | 1 | Antony.Bentley | SHOW INLET
14 | Text Box | 1 | Salman Almajed | BMPS-S-50806
15 | Text Box | 1 | Antony.Bentley | ADD NOTE: FINAL SIZES TO BE DETERMNED BY CALCULATION