## 018-A-PID-00014-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Ahmed Habib | General Note: Suffix "D" shall be uused for EM. Close.
2 | Text Box | 1 | rob.urban | ALL ADDITIONAL COMMENTS TO BE DISCUSSED AND MARKED UP AS REQUIRED ON THE MASTER SET DURING JOINT P&ID REVIEW SESSION
3 | Text Box | 1 | Ahmed Habib | Refer to SPI Database Creation Guiselines, Suffix "D" shall be used for Emergency Stop At 50ft.
4 | Call-out | 1 | Mahdi Ali | Use updated symbol for the fieldbus signal
5 | Text Box | 1 | Mahdi Ali | Tag number for the driver for pumps shall be inserted on all PIDs as per BMPS-A8 section 8.4.3
6 | Call-out | 1 | Mahdi Ali | Titles shall have 3 lines and not 4.