## 018-C-DAT-00045-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 4 | Danut.Dragan | Alarm Level Limits in Vessel and in boot, shall all be noted and respective elevations provided.
2 | Callout | 4 | Danut.Dragan | Instrument Nozzles numbers, elevations / positions shall be provided
3 | Call-out | 4 | Rashed Almudahka | Provide the details of this nozzle.
4 | Call-out | 4 | Rashed Almudahka | Wear plate dimensions to be plotted/ provided
5 | Callout | 5 | Danut.Dragan | not applicable