## 018-C-GAD-00021-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Danut.Dragan | Projection for Level Instruments Process Connections shall appear on hold. Projections to be checked.