## 018-C-GAD-00022-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Mahdi Ali | INCLUDE EQUIPMENT TAG NUMBER IN ALL SHEETS.
2 | Callout | 1 | Danut.Dragan | Level Instruments Process Connections shall appear on hold.
3 | Callout | 1 | Fatema Hashem | remove the (-)