## 018-E-GAD-00036-003-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Call-out | 1 | Mahdi Ali | REMOVE SPACE BETWEEN TAG NUMBER AND SUFFIX
2 | Text Box | 1 | Robert.Kawitzki | Show 0, 90, 180 and 270 degree markers all end views
3 | Callout | 1 | Danut.Dragan | in case of TG or TE/TT are specified in related P&ID as located between the stacked S/T Exchangers, the instruments shall be shown in drawing and tabulated with the respective details.