## 018-G-DAT-00037-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | rob.urban | other pump types to be evaluated as this service has to be highly reliable
2 | Text Box | 1 | Mahdi Ali | THIS DATASHEET TEMPLATE WAS REVISED AND WILL BE ISSUED WITH THE HOMOGENIZATION PROCEDURE. IN THE NEXT REVISION, THE REVISED TEMPLATE AND COVER PAGE SHALL BE USED.
3 | Text Box | 1 | Isamu | Why this reciprocating pump is inserted into transmittal for centrifugal pumps ? Shall be regrouped with similar ones
4 | Text Box | 2 | David.Jimenez | -5
5 | Text Box | 2 | Isamu | Delete. This is for another type of driver
6 | Callout | 2 | Fatema Hashem | PUMP SUCTION PRESSURE IS 24.7PSIA PER P&IDS. REVIEW AND CORRECT
7 | Call-out | 3 | Rashed Almudahka | Provide the basis of changing the inspection/ test requirement