## 021-A-PID-00001-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Abdul Majeed | Not representing Fieldbus Signal
2 | Text Box | 1 | rob.urban | ALL ADDITIONAL COMMENTS TO BE DISCUSSED AND MARKED UP AS REQUIRED ON THE MASTER SET DURING JOINT P&ID REVIEW SESSION
3 | Text Box | 1 | Mahdi Ali | Refer to BMPS-A8 for how the title shall be filled in for PIDs.
4 | Call-out | 1 | Mahdi Ali | THIS COMMENT IS APPLICABLE FOR ALL PIDS. BAPCO REQUESTED TTSJV TO CHANGE THE FIELDBUS SIGNAL AND USE THE FEED VERSION.
5 | Call-out | 1 | Mahdi Ali | CHANGE TO 'DETAIL A'
6 | Callout | 1 | Robert.Kawitzki | Equipment tags as per BMPS-A8 - typical comment