## 021-C-GAD-00014-003-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | MAK | General Comment: All the texts in drawings shall be searchable and in UPPERCASE. Text fonts and styles shall be as per BMPS-A8.
2 | Call-out | 1 | Ali Kadhem | It is noted that in the datasheet of 021V0022 issued by TTSJV in BMP-ROC-TRI-00356, T.L to T.L is 2400mm. Please check and ensure consistency.