## 023-A-PID-00005-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | Basheer.isa | Both nozzle bridles (DCS & ESD) shall be at the same elevation & measuring range
2 | Cloud+ | 1 | Basheer.isa | Both nozzle bridles (ESD & DCS) shall be at the same elevation & measuring range
3 | Text Box | 1 | rob.urban | THESE MINOR COMMENTS ARE IN ADDITION TO MARK UPS DONE DURING THE JOINT P&ID REVIEW
4 | Text Box | 1 | Mahdi Ali | Annotation line should not touch the valves for clarity
5 | Text Box | 1 | Mahdi Ali | Vertical line break to be same for all the lines