## 050-A-PID-00002-001-R6A
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | A Albalooshi | Please confirm if gate valve is adequate.
2 | Call-out | 1 | Edgardo | In previous Bapcodrawing, the naphtha line from 1HCU is at this location; need to confirm why it is missing in the PID
3 | Callout | 1 | Mahdi Ali | BAPCO PROVIDED THIS DRAWING AS REVISION '5'. THUS THIS DRAWING SHALL BE '5A'
4 | Callout | 1 | Mahdi Ali | THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINAL HANDOVER AS NEXT REVISION. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
5 | Callout | 1 | Mahdi Ali | 1&2SGP