## 050-A-PID-00005-003-R6A
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Shade for demolition, if so. Applies to all other demolition scopes.
2 | Typewritten Text | 1 | Nabeel | Specify destination
3 | Callout | 1 | Mahdi Ali | BAPCO PROVIDED THIS DRAWING AS REVISION '5'. THUS THIS DRAWING SHALL BE '5A'
4 | Typewritten Text | 1 | Nabeel | Add 050D0105
5 | Callout | 1 | Abdul Rahim | Provide flange with spacer for isolation
6 | Typewritten Text | 1 | Nabeel | This should read "KERO Transfer Pump"
7 | Typewritten Text | 1 | Nabeel | #4A KERO
8 | Typewritten Text | 1 | Nabeel | Add 050P0957/050P1077/050P1078
9 | Callout | 1 | Mahdi Ali | THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINAL HANDOVER AS NEXT REVISION. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS