## 050-A-PID-00008-003-R5A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Abdul Rahim | change to upstream of valve
2 | Text Box | 1 | Mahdi Ali | THIS DRAWING WAS PROVIDED AS REV '4'; THUS THIS DRAWING SHALL BE REV '4A'
3 | Callout | 1 | Abdul Rahim | Pls check this should change to Kero
4 | Cloud+ | 1 | MAK | Delete on all sheets
5 | Callout | 1 | Abdul Rahim | will there be a valve at unit limit with spectacle blind unit side
6 | Callout | 1 | Mahdi Ali | THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINALHANDOVER. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
7 | Callout | 1 | Abdul Rahim | the spectical blind tobe upstream of valve. The MFD is always pressurized