## 050-A-PID-00014-001-R5A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Francis L | Indicate as a general note - Any modification to the existing Refinery Tank Farm In-Line Blending Control system including design, configuration, acceptance testing installation and commissioning, shall be carried out solely by Yokogawa Tokyo, Japan.
2 | Callout | 1 | Francis L | Clarify/correct direction of signal flow.
3 | Callout | 1 | Mahdi Ali | THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINALHANDOVER. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
4 | Callout | 1 | Francis L | Clarify/correct direction of signal flow.
5 | Text Box | 1 | Mahdi Ali | THIS DRAWING WAS PROVIDED AS REV '4'; THUS THIS DRAWING SHALL BE REV '4A'