## 050-A-PID-00014-006-R5A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Clarify/correct direction of signal flow
2 | Callout | 1 | Mahdi Ali | THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINALHANDOVER. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
3 | Text Box | 1 | Mahdi Ali | THIS DRAWING WAS PROVIDED AS REV '4'; THUS THIS DRAWING SHALL BE REV '4A'
4 | Typewritten Text | 1 | Nabeel | Description of the stream
5 | Typewritten Text | 1 | Nabeel | What is "Open End"?