## 050-A-PID-00030-001-R1A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | Mahdi Ali | RETAIN EXISTING INFORMATION. THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINALHANDOVER. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
2 | Text Box | 1 | Mahdi Ali | THIS DRAWING WAS PROVIDED AS REV '0'; THUS THIS DRAWING SHALL BE REV '0A'