## 050-A-PID-00032-001-R1A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Mahdi Ali | THIS DRAWING WAS PROVIDED AS REV '0'; THUS THIS DRAWING SHALL BE REV '0A'
2 | Callout | 1 | Francis L | Indicate destination tag number.
3 | Cloud+ | 1 | Mahdi Ali | RETAIN EXISTING INFORMATIN. THE '62756 AND EN0815 SHALL BE INSERTED IN BAPCO REVISION BOX FOR THE FINALHANDOVER. THIS NOTE APPLIED TO ALL BAPCO EXISTING DRAWINGS
4 | Call-out | 1 | Edgardo | Delete arrowhead; flow is bidirectional