## 050-A-PID-50005-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Typewritten Text | 1 | Nabeel | Replace with "Trips"
2 | Call-out | 1 | Edgardo | Please provide missing data
3 | Callout | 1 | Francis L | Connect directly to SEQ block of pump. Refer to pump auto stop configuration on sht 12 of BMPS-A-50003.
4 | Callout | 1 | Abdul Rahim | Provide a flange with spectacle
5 | Callout | 1 | Abdul Rahim | change to 3/4"