## 050-D-GAD-55004-003-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Abdul Rahim | refer to all comment as for 050D0003 (050D1003)
2 | Callout | 1 | Erwin.Lugue | Missing Draw-off sump & inspection wells
3 | Callout | 1 | Erwin.Lugue | Stair layout has to be provided and details in accordance with BMPS-D2 & BMPS-A5
4 | Call-out | 1 | 986131 | Show Working level Normal Fill level and minimum fill level