## 051-A-MSD-00001-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Mahdi Ali | Tag number for the driver for pumps shall be inserted on all PIDs as per BMPS-A8 section 8.4.3
2 | Call-out | 1 | Edgardo | Insert the word "and " before the word "shipping"
3 | Text Box | 1 | Mahdi Ali | Fill in the required fields
4 | Text Box | 1 | Mahdi Ali | Use latest A1 border that is part of the Homogenization procedure