## 051-A-PID-00014-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Clarify function of HH
2 | Callout | 1 | Francis L | Clarify function of this logic block.
3 | Callout | 1 | Francis L | May be hardwired instead of soft.
4 | Call-out | 1 | Edgardo | Please clarify if this should normally be blinded as shown
5 | Callout | 1 | Francis L | Remove arrowhead.
6 | Callout | 1 | Francis L | Tag as XA if it is common alarm, and indicate as common alarm.
7 | Call-out | 1 | Edgardo | Thos globe valve is not in pipe spec B9M
8 | Callout | 1 | Francis L | Use double letters for suffix.