## 051-A-PID-00017-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Indicate comp signal arrangement as per BMPS-A-50003
2 | Call-out | 1 | Edgardo | Please show the B/L