## 051-A-PID-00020-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | Francis L | Clarify that ESD valves can be tested periodically.
2 | Callout | 1 | Francis L | Delete
3 | Callout | 1 | Francis L | Delete "signal"
4 | Callout | 1 | Francis L | forced to Manual and drive the controller output to safe position. Applies to all other similar actions.
5 | Callout | 1 | Francis L | Indicate A, B and C sequentially.
6 | Callout | 1 | Francis L | Indicate drift position.
7 | Callout | 1 | Francis L | Indicate tag no.
8 | Callout | 1 | Francis L | Indicate type of bridle detail as per BMPS-A-50003
9 | Callout | 1 | Francis L | PDG
10 | Callout | 1 | Francis L | Represent as per BMPS-A-50003 indicating dridle arrangement and Detail type.
11 | Callout | 1 | Francis L | Use double letters as suffix. Refer BMPS-J3.