## 051-A-PID-00027-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | MAK | Delete
2 | Callout | 1 | Francis L | Indicate signal type (PV?)
3 | Callout | 1 | Francis L | Remove
4 | Callout | 1 | Francis L | Clarify
5 | Callout | 1 | Francis L | Consider adding a NOTE clarifying function of this totalised signal.
6 | Callout | 1 | Francis L | forced to Manual and drive the controller output to safe position.
7 | Callout | 1 | Francis L | Clarify signal connection type (between this system and DCS).
8 | Callout | 1 | Francis L | Indicate drift position.
9 | Call-out | 1 | MAK | Add REFRIGERATED
10 | Callout | 1 | Francis L | Clarify HH & LL alarms.