## 051-C-GAD-00001-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Cloud+ | 1 | MAK | 3
2 | Cloud+ | 1 | MAK | Add S
3 | Text Box | 1 | Francis L | Basis sizing of this vessel, with respect to hold-up time, in the event of loss of main instrument air supply pressure.
4 | Cloud+ | 1 | MAK | Enter short Unit description: 051 - C3&C4 WHARF
5 | Cloud+ | 1 | MAK | Fill in EX and PN nos.
6 | Call-out | 1 | MAK | Delete Space
7 | Text Box | 1 | MAK | General Comment: All the texts in drawings shall be searchable and in UPPERCASE. Text fonts and styles shall be as per BMPS-A8.