## 056-A-PID-00016-001-R4A
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Add suffix and indicate sequence no. with 4 digits.
2 | Call-out | 1 | Edgardo | This drawing number is now changed
3 | Callout | 1 | Francis L | Indicate as DCS symbol with appropriate numbering.
4 | Text Box | 1 | Mahdi Ali | THIS DRAWING IS CONVERTED FROM BRA080060-001
5 | Callout | 1 | Francis L | Indicate as PG if it is a pressure gauge.
6 | Callout | 1 | Francis L | Indicate all PLC tags as DCS tags
7 | Text Box | 1 | Mahdi Ali | Add the above note below the drawing number as was originally provided by Bapco. Do not remove this note from all the PID provided by Bapco.
8 | Call-out | 1 | Edgardo | Please provide this line with vent and drain valves
9 | Callout | 1 | Francis L | Add suffix and indicate sequence no. with 4 digits.