## 056-A-PID-00017-001-R5A
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Line | 1 | Edgardo
2 | Text Box | 1 | Mahdi Ali | Add the above note below the drawing number as was originally provided by Bapco. Do not remove this note from all the PID provided by Bapco.
3 | Call-out | 1 | Abdul Rahim | AS indicated on P&ID red markups #1 and #2 kero will be used inside Sitra Tanks.
4 | Callout | 1 | Francis L | Clarify requirement as associated line is to be demolished.
5 | Call-out | 1 | Edgardo | Please minimize the very long line break so the connection can easily be identified
6 | Text Box | 1 | Mahdi Ali | THIS DRAWING IS CONVERTED FROM BRA080061-001