## 056-A-PID-00018-003-R5A
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Indicate as pneumatic signal.
2 | Callout | 1 | Francis L | Remove "+" signs
3 | Text Box | 1 | Mahdi Ali | THIS DRAWING IS CONVERTED FROM BRA080062-003
4 | Text Box | 1 | Mahdi Ali | Add the above note below the drawing number as was originally provided by Bapco. Do not remove this note from all the PID provided by Bapco.
5 | Text Box | 1 | Francis L | PLC tags shall be redrawn as DCS tags.