## 056-J-INX-50002-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | steven.coyne | fix page numbering
2 | Cloud+ | 1 | MAK | 056 - SITRA TANK FARM
3 | Text Box | 2 | Abdul Majeed | Protection
4 | Text Box | 2 | steven.coyne | Is this nececessary? if not remove
5 | Callout | 2 | David.Jimenez | r
6 | Text Box | 3 | mohamed.waleed | Please include Fire and Gas IOs
7 | Text Box | 4 | Francis L | Provide description
8 | Callout | 4 | Francis L | Clarify this signal as all PLC I/Os will be transferred to new DCS.