## 058-A-BOD-50002-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | MAK | Use the latest document template that is part of the Homogenization Procedure.
2 | Text Box | 4 | Mahdi Ali | Bapco drawing number does not contain revision
3 | Text Box | 5 | Omran A | RDP
4 | Text Box | 5 | Omran A | Riffa Distribution Point
5 | Text Box | 5 | Omran A | ADP
6 | Text Box | 5 | Omran A | Alba Distribution Point
7 | Text Box | 7 | Mahdi Ali | Remove letter 'u'
8 | Text Box | 7 | Ali Hasan | Comments related to this page is included in the attached file. These comments are extracted from Owner comments on 058-A-BOD-50001-001 PROCESS DESIGN BASIS FUEL GAS SYSTEM (BMP-ROC-TRE-00036). Please update this page basis the attached comments. We need to ensure consistency between the two documents.
9 | Call-out | 8 | Ali Hasan | As per fuel gas meeting dated 13 April, a conservative number was to be used; 7Ib/MMSCF or 4 degF.
10 | Text Box | 8 | Mahdi Ali | General Note: Avoid the use of the word 'new'
11 | Text Box | 9 | Omran A | RDP
12 | Text Box | 9 | Omran A | Alba Distribution Point (ADP)
13 | Call-out | 9 | Hasan Al Noaimi | and will be located at No 3 Sulphur Plant.
14 | Call-out | 9 | Jawad Alawi | Delete in
15 | Text Box | 9 | Omran A | Riffa Distribution Point (RDP)
16 | Text Box | 9 | Omran A | ADP
17 | Call-out | 10 | Jawad Alawi | considered
18 | Call-out | 10 | Jawad Alawi | Delete New
19 | Call-out | 12 | Jawad Alawi | Replace Riffa with RDP and Alba with ADP