## 058-A-PID-00001-001-R4A-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Mahdi Ali | ORIGINAL DRAWING PROVIDED BY BAPCO WAS REVISION '3'. THUS THIS DRAWING SHALL HOLD REVISION '3A'.
2 | Cloud+ | 1 | MAK | Delete from all sheets
3 | Cloud+ | 1 | MAK | REFINERY GAS SYSTEM
4 | Callout | 1 | Mahdi Ali | CHANGE UNIT NUMBER TO '058'
5 | Callout | 1 | Mahdi Ali | CHANGE TO 00007