## 058-A-PID-50007-001-RA-CS
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Callout | 1 | Francis L | Please clarify
2 | Callout | 1 | Francis L | Please clarify
3 | Cloud+ | 1 | MAK | Delete from all sheets
4 | Cloud+ | 1 | MAK | REFINERY GAS SYSTEM
5 | Callout | 1 | Francis L | Indicate tag no.
6 | Callout | 1 | Francis L | Level alarm set points should not be indicated in vessel. These values are to be specified in vessel data sheets and alarm set point registers.