## 058-A-PPN-50001-001-RA
ID | Subject | Page | Author | Comments | JV Replies | Comment included (Y/N) | Bapco closure (Y/N)
1 | Text Box | 1 | A Albalooshi | As part of the joint P&ID review with TechnipFMC one of the alternatives is to locate the metering station near the microscrubbers. Discussions are ongoing with Tatweer for the subject matter (TechnipFMC is requested to hold this plot plan till final decision is made by owner)
2 | Call-out | 1 | Edgardo | Please change "Main S/S" to "Refinery No. 1 Substation"
3 | Call-out | 1 | Mohamed Aldoseri | This area is part of road/maintenance access, it shall be paved area.
4 | Cloud+ | 1 | MAK | Delete
5 | Cloud+ | 1 | MAK | General Comment: The text height is small. No need to reduce the text size, otherwise the column width shall be Increased.
6 | Callout | 1 | Mahdi Ali | THE REFINERY GAS SYSTEM IS A SYSTEM THAT IS SPREAD ACROSS THE ENTIRE REFINERY. THIS DRAWING SHOWS ONLY PART OF THE SYSTEM THUS THE TITLE SHOULD BE MORE SPECIFIC TO THIS AREA SUCH AS 'KHUFF GAS SCRUBBER AREA'
7 | Call-out | 1 | Edgardo | Please clarify what are existing underground facilities which need to be relocated
8 | Callout | 1 | Mahdi Ali | REMOVE AREA CODES